

TruVision TVD-2402/4402 TVI Dome Camera A&E Specifications



# The TVD-2402/4402 Camera shall capture and transmit video over an analog connection.

# The TVD-2402/4402 shall be as manufactured by Interlogix.

# The TVD-2402/4402 shall include, but not be limited to the following:

## The TVD-2402/4402 shall provide analog connection for the purpose of allowing users to integrate it with TVI digital video recorder or TVI digital video encoder products.

### The TVD-2402/4402 shall provide 1 channel of TVI video output.

### The TVD-2402/4402 shall provide 1 channel of 960H video output.

### The TVD-2402/4402 shall include a sensor of 1/3" CMOS image sensor.

## The TVD-2402/4402 shall have effective pixels (H x V) in or over 1280 × 720.

## The TVD-2402/4402 shall support TVI output (H x V) in 1280 × 720.

## The TVD-2402/4402 shall have varifocal 2.8-12mm lens.

## The TVD-2402/4402 shall have IR Cut Filter.

## The TVD-2402/4402 shall conform to IP66.

## The TVD-2402/4402 shall conform to IK10.

## The TVD-2402/4402 shall have up to 40m IR illumination range.

## The TVD-2402/4402 shall have built-in button On Screen Display control and over coax cable control function.

## The TVD-2402/4402 shall be user configured via the internal menu.

### TVD-2402/4402 shall have an integrated menu to configure the following information:

#### AE

#### White Balance

#### Day/Night

#### Video Settings

#### Function

#### Reset

### Configurable options shall include:

#### AE

##### Brightness

##### AE Mode

##### AGC

##### Sense Up

#### White Balance

##### Auto

##### Manual

#### Day & Night

##### Color

##### B/W

##### Smart

#### Video Setting

##### Contrast

##### Sharpness

##### Color Gain

##### 3D NR

##### Mirror

#### Function

##### Motion Detection

##### Privacy Mask

##### Zoom In

#### Reset

##### Camera reset

# The TVD-2402/4402 shall have the following additional specifications:

## Video

### Video output: 1\*HD-TVI output or 1\*960H composite selectable output

### Minimum illumination: 0.01 Lux @ (F1.2, AGC ON), 0.014 Lux @ (F1.4, AGC ON), 0 Lux with IR on

## Electrical

### Power supply: 12 VDC / 24 VAC

### Current: 300 mA @ 12 VDC, 210 mA @ 24 VAC

### Power Consumption: 12 VDC: 3.5W, 24 VAC: 5 W

## Environmental

### Operating temperature range: -30 to +60 °C (-22 to +140 °F)

### IP66

### IK10

## Physical

### Dimensions: Ø145.3 × 124.2 mm (5.72 × 4.89 in.)

### Weight: 641 g (1.41 lb.) (without back box) / 932 g (2.05 lb.) (with back box)

# The TVD-2402/4402 shall conform to these internationally recognized compliance standards:

### FCC

### CE

### UL

### WEEE

### RoHS

### REACH

Contacting Support

North America:

855-286-8889

techsupport@interlogix.com

Latin America:

561-998-6114

latam@interlogix.com

Web site:

[www.interlogix.com/customer-support](http://www.interlogix.com/customer-support)

EMEA:

See specific country listings at:

[www.utcfssecurityproducts.eu/support](http://www.utcfssecurityproducts.eu/support)