

TruVision NVR 21 (TVN 21) A&E Specifications, Division 28 00 00 Electronic Safety and Security



• ISS

This A&E Specification conforms to CSI MasterFormat 2016 guidelines.

28 01 00 Operation and Maintenance of Electronic Safety and Security

28 01 20 Operation and Maintenance of Video Surveillance

# Operations

## The Network Video Recorder with Ethernet connectivity shall be as manufactured by Interlogix or an approved equal. The TVN 21 shall require minimal training for the end user. The unit shall be operated like a conventional multiplexer and VCR with local display monitors for live and playback viewing while the system continues to record new images. It shall be an integrated security system, capable of time division multiplexing and real time recording multiple cameras, and storing their digitized and compressed images on integral hard drives for fast search and retrieval either locally at the unit, or from a remote workstation using a Graphical User Interface (GUI).

## Additionally, the system shall provide automated alarm handling. Upon receipt of an alarm, the system shall be able to automatically change display and record speed, provide relay output operation, and provide serial data transfer to a host. The system shall be able to determine alarm change of state (COS) conditions from integral motion detection, hard-wired alarm inputs, or serial data transfer from a host. It shall similarly be able to sense an event COS by receipt of text data from a foreign host through a serial port on the unit. During investigations, it shall be possible to search and retrieve stored video data by date, time, camera, alarm, and transaction text.

28 01 20.17 Revisions and Upgrades of Video Surveillance

# Upgrades

## The system shall be upgraded through flash programming upgrades of software, using either a USB drive or TCP/IP.

28 05 00 Common Work Results for Electronic Safety and Security

28 05 07 Power Sources for Electronic Safety and Security

28 05 07.13 Power Sources for Video Surveillance

# The recorder shall be provided with a built-in power supply to prevent susceptibility to power spikes, surges, harmonics, and other common electrical disturbance phenomena associated with the installation environment.

28 05 09 Surge Protection for Electronic Safety and Security

28 05 09.13 Surge Protection for Video Surveillance

# The recorder shall be provided with a built-in power supply to prevent susceptibility to power spikes, surges, harmonics, and other common electrical disturbance phenomena associated with the installation environment

28 05 19 Storage Appliances for Electronic Safety and Security

28 05 19.15 Network Video Recorders

# Hardware:

## The recorder shall function as a standalone unit. It shall not require the use of a personal computer, special monitors, or other peripheral devices for either programming or operation. Live and recorded playback of video images shall display on conventional CCTV monitors or LCD monitors.

## The recorder shall be capable of displaying onscreen text and menus in more than one language. This shall be user-selectable via the menu system.

## The recorder shall have robust buttons integrated into the front panel of the unit, used for menu navigation, setup, and control of the unit, with no need for an external control device.

## The recorder shall have robust and illuminated buttons integrated into the front panel of the unit for each camera, display, sequence, monitor A, monitor B, live, playback, pause, alarm, and a multi-function navigation.

### Status LEDs

#### Camera buttons shall show the camera status, green for fully operational, red in case of Video Loss or occurring Alarm.

#### An alarm button shall be lit if an alarm occurs.

#### An alarm indication bar shall visualize an alarm, additionally the causing criterion shall be shown by alarm indication lights for

##### Power

##### Alarm

##### Network

##### HDD

##### Ready

##### Archive

## The comprehensive search function shall be activated by using the search button.

## The TVN 21 shall support a one-button quick archive, auto detecting the storage media inserted and the maximum storage capacity.

## TVN 21 shall have a USB port at the front panel supporting a mouse or memory sticks for archiving video and audio files for evidence.

## TVN 21 shall provide external keyboard support. All DVR and PTZ control functions shall be supported.

## The TVN 21 shall use an easy-to-read, onscreen menu system of icons and pop-up selections.

## The TVN 21 shall use a battery to back up memory that stores the time, date, and all internal programming functions.

## The TVN 21 shall have log view screens to show the entire system status at a glance.

## The TVN 21 shall support Auto Install to do the following:

### Automatically detect loss of video sync, with onscreen indicators. If video loss is detected during recording, the TVN 21 will warn by onscreen message, sending a message to remote, sounding a buzzer, and switching a relay.

### Automatically control gain per camera, which shall be adjustable by the user.

## The TVN 21 shall prevent unauthorized program tampering through the use of at least sixteen users and passwords, with settings including:

### Local user privileges

### Remote user priveleges

### Local play privileges

### Remote play privileges

### Remote view privileges

## The TVN 21 shall be one and a half units of rack space in height (1.5U) and capable of being rack mounted (EIA 19-inch standard), with rack mount hardware that was designed by the manufacturer to support the units.

## The TVN 21 shall support Digital Zoom in a user defined area.

## The eSATA port shall be configurable either as a Storage Expansion Port or for external video archiving on eSATA media.

## The video player shall be a zero footprint player and export video with an evidence player.

## A Windows Media Player filter shall be available in order to allow the playback of evidence video using the default Windows Player.

## TVN 21 shall support an easy-to-use Internet Explorer-based Web browser. The supported features shall be:

### Camera live view with up to 16 cameras simultaneously

### Capability to switch between Main stream and Substream per camera individual and all cameras at once

### PTZ functionality with Preset call up

### Playback of recorded video

### Archiving of recorded video

### Comprehensive remote configuration

# Network Video Recorder Features

## Recording

### The TVN 21 shall support user programmable stored video frame rates that can be programmed on a per-camera basis. All cameras shall be programmable to capture images in one of the following operating modes:

#### Constant

#### TimeLapse

#### Event

#### Alarm

### At a minimum, the TVN 21 shall support the following stored video frame rates per camera:

#### Real time (NTSC/PAL)

#### 22 fps

#### 20 fps

#### 18 fps

#### 16 fps

#### 15 fps

#### 12 fps

#### 10 fps

#### 8 fps

#### 6 fps

#### 5 fps

#### 4 fps

#### 3 fps

#### 2 fps

#### 1 fps

### The TVN 21 shall support an alarm record mode that is user programmable. At a minimum, the TVN 21 shall support the following alarm mode stored video frame rates:

#### Real time (NTSC/PAL)

#### 22 fps

#### 20 fps

#### 18 fps

#### 16 fps

#### 15 fps

#### 12 fps

#### 10 fps

#### 8 fps

#### 6 fps

#### 5 fps

#### 4 fps

#### 3 fps

#### 2 fps

#### 1 fps

### The TVN 21 shall allow the user to select whether the hard drive recording should automatically overwrite data (starting with the oldest data first), or if the user must confirm overwriting before recording will continue when the hard drive is filled.

### The TVN 21 shall have image quality settings that are adjustable on a per-camera basis by the end user, including the following:

#### QCIF, CIF, 2CIF, 4CIF, VGA, SVGA, 720P, 900P, XVGA (960P), UXGA, 1080P, 2048×1536 and 2560×1920 Streaming bandwidth: by User (32-8192 Kb), 2 Mb, 1.75 Mb, 1.5 Mb, 1.25 Mb, 1 Mb, 896 Kb, 768 Kb, 640 Kb, 512 Kb, 448 Kb, 384 Kb, 320 Kb, 256 Kb, 224 Kb, 192 Kb, 160 Kb, 128 Kb, 96 Kb, 80 Kb and 64 Kb

### TVN 21 shall support camera bandwidth of up to 80/160/200 Mbps for incoming camera connections.

### The TVN 21 shall support from one to thirty seconds of pre-alarm recording, maintained in a buffer, and shall append this buffer to the beginning of all recorded alarms. The TVN 21 shall continue to record at the alarm rate until the alarm is reset, times out, or is acknowledged as determined by the alarm menu programming.

### The TVN 21 shall support from 1-30 seconds of pre‑event recording maintained in a buffer, and shall append this buffer to the beginning of all recorded events. The TVN 21 shall continue to record at the event rate until the programmed event duration (from 5 seconds to 10 minutes) expires.

### The TVN 21 shall allow the user to manually or automatically customize the record rates per camera for events and motion detection.

### The user shall be able to play back images smoothly at normal or fast speeds and in forward modes, without distortion.

### The unit shall provide full media search capabilities for archiving, restoring, and playback operations. Search capabilities shall include filters for start/stop times, start/stop dates, alarm and event occurrences, inserted text, and camera number.

### The TVN 21 shall support the recording of all images with a digital watermark. The verification of watermarked images shall reside solely with the manufacturer.

## Dual Streaming

### The TVN 21 shall allow the installer to set up a sub stream for streaming video and audio over a network without affecting the record rate, quality, and resolution of recorded video.

## Multiscreen

### The TVN 21 shall be a triplex type unit, allowing simultaneous recording, playback, and live multiscreen viewing at the unit, with no need for additional hardware.

### The TVN 21 shall provide the following displays in live mode: full screen, sequencing, 4-way, 6-way, 8-way, 9-way, or 16-way.

### The TVN 21 shall provide the following Triplex displays in playback mode: full screen, 2-way, 4-way, 9-way, or 16-way and switching between cameras.

### The TVN 21 shall allow the user to rearrange cameras in any multiscreen display in live mode.

### The TVN 21 shall incorporate the following display options:

#### Camera titling with a minimum of up to 16 alphanumeric characters

#### Title display enable/disable, per channel

#### Time/date formatting

#### Time/date enable/disable, per channel

### The TVN 21 shall provide image update rates for live and record modes of up to 30 fps for NTSC or up to 25 fps for PAL per channel.

#### The TVN 21 shall have three monitor outputs as follows:

##### One analog Multiscreen monitor-A output

###### Composite video, BNC connector

###### NTSC/EIA or PAL/CCIR compatible

###### Shall display event video

##### One digital Multiscreen monitor-B output

###### HDMI connector

###### Shall be able to display all cameras live or in sequence mode

##### One analog multiscreen monitor-C output

###### VGA connector

###### Shall display live, playback, and programming functions

## Video motion detection

### The TVN 21 shall support the following video motion detection, with on-screen indications when motion is occurring:

#### Motion detection, which shall be treated as an event and follow the event encoding settings.

##### The TVN 21 shall support an onscreen setup scale to determine the optimum sensitivity setting for each camera input.

##### The TVN 21 shall have 396 zones per camera, arranged in a 22 by 18 grid.

##### The TVN 21 shall have 7 levels of sensitivity.

##### The TVN 21 shall have 255 levels for size discrimination.

## Masking / Privacy Zones

### The TVN 21 shall support video masking.

### The TVN 21 shall have be able to have four mask areas per camera.

## Tampering

### The TVN 21 shall support video tampering.

### The TVN 21 shall have three levels of sensitivity.

## Alarms

### The TVN 21 shall support up to 16 alarm inputs, programmable as normally open or normally closed from within the menus.

### The TVN 21 shall support four form-C relays as alarm outputs, and rated for 0.5 A continuous, 1.0 A momentary. Upon alarm, the system shall be able to execute a change of state (COS) to relay number 1, relay number 2, relay number 3, relay number 4, or all.

### The TVN 21 shall have a fully programmable additional audible device to alert the user to alarms, motion detection, and video loss occurrences or operation failure.

### The TVN 21 shall support alarm latching with two settings, which shall be manually set or programmable from the menus as follows:

#### Manual acknowledge – When an alarm is activated, the TVN 21 shall be manually acknowledged to reset the COS back to normal condition.

#### Timed out – the alarm shall automatically reset after a user-defined elapsed time.

### The TVN 21 shall have automatic full screen associated alarm display that shall change as incoming alarms continue to arrive. As additional alarms arrive, the display monitor shall sequence between the cameras in alarm. It shall be possible, using the telemetry preset control described elsewhere in this specification, to utilize presets with associated alarm display to show the alarmed scene and surrounding escape paths during a high level alarm condition.

### The TVN 21 shall provide status relays that shall link to alarms, motion detection, and video loss.

### The TVN 21 shall have an alarm history display capable of showing the last 100 alarms received by the system.

### The TVN 21 shall be supplied with push-in wire terminal connections to facilitate easy connection of alarms and other input/output signals.

### The TVN 21 shall support notification on alarm to user accounts. The TVN 21 shall allow the user to program notification in response to any of the following conditions:

#### Hard drive full

#### NTSC/PAL mismatch

#### Illegal access

#### IP Address conflict

#### Network issues

#### Network access

#### Abnormal recording

#### Hard drive error

## RS-232 communications

### The TVN 21 shall support RS-232 communications and control to facilitate:

#### Remote control of system operation, setup, and system programming operations

#### Text insertion shall be supported as follows:

##### The TVN 21 shall accept 42 characters line

##### Each message shall be associated with a single camera.

##### Four types of event text messages shall be supported:

###### Start of event (event mode is started and optional text string is stored with the first event field)

###### End of event (event mode is stopped and optional text string is stored with the next event field)

###### Event snapshot (at least one field from the event camera is recorded with an optional text string)

###### No change (text is added to next field of the selected camera without changing the camera’s record rate)

##### Text messages shall be discarded if the TVN 21 is not in record mode.

##### In full screen playback on the TVN 21, the text will be displayed on the field it was recorded with. Only the first 42 characters shall be displayed in a single line.

## Ethernet communications

### The TVN 21 shall support LAN/WAN Ethernet access.

### The TVN 21 shall support Ethernet bandwidths of 10 Mbps or 100 Mbps or 1000 Mbps.

### The TVN 21 shall support simultaneous Ethernet access by not less than 16 workstations connected to the LAN/WAN.

### The TVN 21 shall be provided with a Graphical User Interface (GUI) software for remote playback and viewing that shall support the Windows 7, 8 and 10 operating systems and full searching capabilities. It shall be possible to remotely set up the TVN 21 unit using the remote viewing software.

### The TVN 21 shall not stop recording during any Ethernet access.

### The TVN 21 shall allow the user full programming of Ethernet parameters, including the following:

#### Ethernet (enable/disable)

#### DHCP (enable/disable)

#### DDNS

#### IP address

#### Default gateway

#### Sub-net mask

#### HTTP port

#### Main port

# Specifications

## Video

### Total available video memory shall be at least 1 GB.

#### Live/playback display memory shall be at least 128 MB.

#### Record memory shall be at least 72 MB.

### Video sampling rate shall be at least 27 MHz.

### Available colors shall be to specification YUV 4:2:2, providing up to 65K colors.

### There shall be 256 grayscale levels.

### Horizontal resolution shall be 704 pixels.

### Vertical resolution shall be:

#### 480 active lines NTSC/EIA

#### 576 active lines PAL/CCIR

## Inputs

### Camera

#### There shall be 16 camera inputs.

#### Inputs shall use Ethernet.

#### Inputs shall be NTSC/EIA or PAL/CCIR compatible.

## Audio

### There shall be per camera one associated and synchronized audio input

### One bidirectional audio line input

### The line audio input shall use RCA connectors

#### Signal conditioning

##### All inputs shall have automatic gain control.

## Outputs

### The TVN 21 shall have three monitor outputs as follows:

#### One analog Multiscreen monitor-A output

##### Composite video, BNC connector

##### NTSC/EIA or PAL/CCIR compatible

##### Shall display event video

### One digital Multiscreen monitor-B output

#### HDMI connector

#### Shall be able to display all cameras live or in sequence mode

### One analog multiscreen monitor-C output

#### VGA connector

#### Shall display live, playback, and programming functions

## The TVN 21 shall have a RS-232 serial data ports to support the following functionality:

### Remote communications

### Transaction Text insertion

## The TVN 21 shall have three USB ports for:

### USB memory key archiving devices

### USB HDD archiving devices

### Mouse control functions

## eSATA

### The TVN 21 shall have an eSATA port for eSATA HDD archiving devices

## The TVN 21 shall have a removable strip for input/output connector to support the following functionality:

### Alarm inputs

### Relay outputs

## Remote control

### The TVN 21 shall have an IR-remote that will emulate the front panel keys

## Mouse: The TVN 21 shall provide mouse control support for

### All menu settings and navigation functions

### Control functions live, playback, PTZ, and archive

28 05 27 Archival Systems for Electronic Safety and Security

# Archiving

## The TVN 21 shall support archiving of recorded images through USB memory stick.

## The TVN 21 shall support archiving of recorded images through eSATA to an external eSATA HDD.

## The TVN 21 shall support archiving of recorded video and audio data through eSATA to an external eSATA HDD

## The TVN 21 shall have an option to select the type of archiving device connected, when interfaced to the devices specified or approved equals.

## The TVN 21 shall support selective archiving.

## The TVN 21 shall have an on-screen progress indicator when selective archiving or restoration operations are accessing the archive device.

## The TVN 21 shall have an Automatic Delete Mode (ADM) that may be enabled or disabled, preventing any video that is older than a user-defined period from being viewed or archived, when the unit is used in jurisdictions that mandate a finite storage time. ADM shall be programmable from 0 to 60 days.

28 05 27.13 Storage Media

# Recorder hard drives

## The TVN 21 shall record video on a hard drive. No videotape or videotape recorders shall be required.

## The TVN 21 shall support both internal and external hard drive configurations.

## Internal storage configurations shall be up to multiples of 8 HHDs using 2 TB, 4 TB, or 6 TB storage capacity per HDD.

## The utilized hard drives shall support the latest SATA technology including SMART reporting.

## The utilized hard drives shall be especially developed for the Digital Video Archiving Industry.

28 05 45 Systems Integration and Interconnection Requirements

28 05 45.11 Mechanical

# Mechanical

## Dimensions shall be 442 (W) × 371 (D) × 74 (H) mm, 19-inch (1.5U) EIA rack mounting.

## Weight shall be 8 kg maximum without hard drive.

28 05 45.13 Electrical

# Electrical

## Input voltage: 100 to 240 VAC, 50 to 60 Hz.

## Power: 45 W maximum without hard drive.

28 05 45.15 Information

# Environmental

## Operating temperature range -10 to +55°C (14~131℉), Relative humidity 10 to 90%.

## Relative humidity: 10 to 90% non-condensing.

# Compliance

## FCC

## CE

## UL

28 05 53 Identification for Electronic Safety and Security

# Identification

## The Network Video Recorder with Ethernet connectivity shall be as manufactured by Interlogix or an approved equal.

Contacting Support

North America:

855-286-8889

[techsupport@interlogix.com](mailto:techsupport@interlogix.com)

Latin America:

561-998-6114

[latam@interlogix.com](mailto:latam@interlogix.com)

Web site:

[www.interlogix.com/customer-support](http://www.interlogix.com/customer-support)

EMEA:

See specific country listings at:

[www.utcfssecurityproducts.eu/support](http://www.utcfssecurityproducts.eu/support)