## HAL
Feature | TVR / TVN Generic | TVR10 | TVR11, 11C | TVR12, 12c | TVR20 | TVR30 | TVR31 | TVR40 | TVR41 | TVR42 | TVR60 | TVN10, 10S, 10C, 10CS | TVN20 | TVN21 | TVN40 | TVN50 | SVR | GoVision 2 | GoVision | SymDec / SymSafe | DVMRe / StoreSafe | VeDVR | DVSRxU | SymDec 16 / SymSafe | DVMRe / StoreSafe
Supported Firmware Versions | N/A | 2.7 | 3.1a | 1.0.g | 1.0.36 | 8000 | 8000 | 3.2.d | 3.0c | 1.1a | 4.7a | 1.1h | 3.2a | 2.2i | 4.3 | 2.2i | Version 7.0.825 | 1.0.0 build 100617 | 2.1 |  |  | 2.1 | 2.31s | 1.60c/1.40c
Default Ports | Video = 8000 Command and Control = 8000 | Video = 8000 (editable) Command and Control = 8000 (editable) Configuration = 8000 (editable) Notifications = 5001 (editable) Firmware Upload = 8000 (editable) | Video = 8000 (editable) Command and Control = 8000 (editable) Configuration = 8000 (editable) Notifications = 5001 (editable) Firmware Upload = 8000 (editable) | Video = 8000 (editable) Command and Control = 8000 (editable) Configuration = 8000 (editable) Notifications = 5001 (editable) Firmware Upload = 8000 (editable) | Video = 80 (editable) Command and Control = 80 (editable) Configuration = 80 (editable) Notifications = 1600 (editable) Firmware Upload = 80 (editable) | Video = 80 (editable) Command and Control = 80 (editable) Configuration = 80 (editable) Notifications = 5000 (editable) Firmware Upload = 80 (editable) Video and control port changes must be done from the front panel of the device. | Video = 80 (editable) Command and Control = 80 (editable) Configuration = 80 (editable) Notifications = 5000 (editable) Firmware Upload = 80 (editable) Video and control port changes must be done from the front panel of the device. | Video = 8000 (editable) Command and Control = 8000 (editable) Configuration = 8000 (editable) Notifications = 5001 (editable) Firmware Upload = 8000 (editable) | Video = 8000 (editable) Command and Control = 8000 (editable) Configuration = 8000 (editable) Notifications = 5001 (editable) Firmware Upload = 8000 (editable) | Video = 8000 (editable) Command and Control = 8000 (editable) Configuration = 8000 (editable) Notifications = 5001 (editable) Firmware Upload = 8000 (editable) | Video = 8000 (editable) Command and Control = 8000 (editable) Configuration = 8000 (editable) Notifications = 5001 (editable) Firmware Upload = 8000 (editable) | Video = 8000 (editable) Command and Control = 8000 (editable) Configuration = 8000 (editable) Notifications = 5001 (editable) Firmware Upload = 8000 (editable) | Video = 8000 (editable) Command and Control = 8000 (editable) Configuration = 8000 (editable) Notifications = 5001 (editable) Firmware Upload = 8000 (editable) | Video = 8000 (editable) Command and Control = 8000 (editable) Configuration = 8000 (editable) Notifications = 5001 (editable) Firmware Upload = 8000 (editable) | Video = 3000 (editable) Command and Control = 3000 (editable) Configuration = 3000 (editable) Notifications = 4444 (un-editable) Firmware Upload = 3000 (editable) PTZ = 3000 (editable) These are the recommended ports between TruVision Navigator and the TVN40. It is not recommended to restrict ports between the TVN40 and the actual IP cameras themselves. | Video = 8000 (editable) Command and Control = 8000 (editable) Configuration = 8000 (editable) Notifications = 5001 (editable) Firmware Upload = 8000 (editable) | Video = 554 (default RTSP) Command and Control =554 (default RTSP - editable) | Video = 8000 (editable) Command and Control = 8000 (editable) Configuration = 8000 (editable) Notifications = 5001 (editable) Firmware Upload = 8000 (editable) | Video = 8000 (editable) Command and Control = 8000 (editable) Configuration = 8000 (editable) Notifications = 5001 (editable) Firmware Upload = 8000 (editable) | Video = 5858 for TCP or 8100 to 8115 for UDP (editable) Command and Control = 1024 (editable) Configuration = 1024 (editable) Notifications = 1027 (editable) Firmware Upload = 1024 (editable) | Video = 1024 (editable) Command and Control = 1024 (editable) Configuration = 1024 (editable) Notifications = 1027 (editable) Firmware Upload = 1024 (editable) | Video = 8000 (editable) Command and Control = 8000 (editable) Configuration = 8000 (editable) Notifications = 5001 (editable) Firmware Upload = 8000 (editable) | Video = 8000 (editable) Command and Control = 8000 (editable) Configuration = 8000 (editable) Notifications = 5001 (editable) Firmware Upload = 8000 (editable) | Video = 5858 for TCP or 8100 to 8115 for UDP (editable) Command and Control = 1024 (editable) Configuration = 1024 (editable) Notifications = 1027 (editable) Firmware Upload = 1024 (editable) | Video = 1024 (editable) Command and Control = 1024 (editable) Configuration = 1024 (editable) Notifications = 1027 (editable) Firmware Upload = 1024 (editable) Browser = 80 (Not available on DVMRe-CS or DVMRe-CD)
Default Username / Password | admin 1234 | admin 1234 We recommend changing this default password at time of installation. | admin 1234 We recommend changing this default password at time of installation. | admin 1234 We recommend changing this default password at time of installation. | admin 1234 We recommend changing this default password at time of installation. | admin 1234 We recommend changing this default password at time of installation. | admin 1234 We recommend changing this default password at time of installation. | Administrator 3477 We recommend changing this default password at time of installation. | admin 1234 We recommend changing this default password at time of installation. | admin 1234 We recommend changing this default password at time of installation. | admin 1234 We recommend changing this default password at time of installation. | admin 1234 We recommend changing this default password at time of installation. | admin 1234 We recommend changing this default password at time of installation. | admin 1234 We recommend changing this default password at time of installation. | admin admin We recommend changing this default password at time of installation. | admin 1234 We recommend changing this default password at time of installation. | (blank) (blank) | admin 12345 We recommend changing this default password at time of installation. | admin 12345 We recommend changing this default password at time of installation. | N/A | N/A | admin 12345 We recommend changing this default password at time of installation. | Administrator 3477 We recommend changing this default password at time of installation. | Front Panel: user 1 / 111111 user 2 / 222222 user 3 / 333333 | Front Panel: 3477 for 8 or 16 channel / 3444 for 4 channel Username: admin Password: admin
Default IP Address | 192.168.1.82 | 192.168.1.82 | 192.168.1.82 | 192.168.1.82 | 192.168.1.82 | 192.168.1.82 | 192.168.1.82 | 192.168.1.82 | 192.168.1.82 | 192.168.1.82 | 192.168.1.82 | 192.168.1.82 | 192.168.1.82 | 192.168.1.82 | 192.168.1.2 | 192.168.1.82 | Host PC IP address | 192.168.0.1 | 192.0.0.64 | 192.168.1.82 | 3.18.173.10 | 192.0.0.64 | 192.168.1.10 | 192.168.1.82 | 3.18.173.10
Network Discovery | Not Supported | Supported | Supported | Supported | Supported | Supported | Supported | Supported | Supported | Supported | Supported | Supported | Supported | Supported | Not Supported | Supported | Not Supported | Supported | Supported |  |  | Supported (This should be "Not supported") | Supported | Not Supported | Not Supported
Compression | H.264 | H.264 | H.264 | H.264 | H.264 | H.264 | H.264 | H.264 | H.264 | H.264 | H.264 | H.264 | H.264 | H.264 | IP Camera-dependent | H.264 | H.264 | H.264 | H.264 | MPEG4 | Wavelet | H.264 | H.264 | MPEG4 | Wavelet
Connection Types | TCP UDP | TCP UDP | TCP UDP | TCP UDP | TCP | TCP TCP I-frame | TCP TCP I-frame | TCP UDP | TCP UDP | TCP UDP | TCP UDP | TCP UDP | TCP UDP | TCP UDP | UDP | TCP UDP | RTSP | TCP UDP | TCP UDP | Reverse TCP Reverse TCP I-frame UDP | TCP | TCP UDP | TCP UDP | Reverse TCP Reverse TCP I-frame UDP | TCP
Streaming Limits | 16 live and 4 playback streams simultaneously | 24 Live or Playback streams simultaneously with a maximum of 6 streams per channel If connection lease is transferred among users when connection limit is reached, the user whose connection is taken will be disconnected from the device and all videos closed - see Connection Manager. | 64 Live or Playback streams including those used by the webpage. | 64 Live or Playback streams including those used by the webpage. | 16 live and 4 playback streams simultaneously | 16 channel: 16 live or 16 playback streams per connection (maximum of 5 connections) 8 channel: 8 live or 8 playback streams per connection (maximum of 5 connections) | 16 channel: 16 live or 16 playback streams per connection (maximum of 5 connections) 8 channel: 8 live or 8 playback streams per connection (maximum of 5 connections) | 24 Live or Playback streams simultaneously with a maximum of 6 streams per channel. If connection lease is transferred among users when connection limit is reached, the user whose connection is taken will be disconnected from the device and all videos closed - see Connection Manager. | 64 Live or Playback streams including those used by the webpage. | 64 Live or Playback streams including those used by the webpage. | 48 Live or Playback streams simultaneously with a maximum of 6 streams per channel. If connection lease is transferred among users when connection limit is reached, the user whose connection is taken will be disconnected from the device and all videos closed - see Connection Manager. | 64 Live or Playback streams including those used by the webpage. | "24" Live or Playback streams simultaneously with a maximum of 6 streams per channel. If connection lease is transferred among users when connection limit is reached, the user whose connection is taken will be disconnected from the device and all videos closed - see Connection Manager. | "64" Live or Playback streams including those used by the webpage. | 24 Live and 9 Playback streams simultaneously | "64" Live or Playback streams including those used by the webpage. | Unlimited (Limits set by hardware's configuration) | 48 Live or Playback streams simultaneously with a maximum of 6 streams per channel. If connection lease is transferred among users when connection limit is reached, the user whose connection is taken will be disconnected from the device and all videos closed - see Connection Manager. | "24" (It should change to 24)Live or Playback streams simultaneously with a maximum of 6 streams per channel. If connection lease is transferred among users when connection limit is reached, the user whose connection is taken will be disconnected from the device and all videos closed - see Connection Manager. | 32 Live and 16 Playback streams simultaneously This is however further restricted by the bandwidth maximum of 32 * 3MB/sec. Example: When all cameras are full D1 30FPS/ High quality (3MBs), you can only have 32 streams (i.e. 16 Live, 16 Playback). When you change the frame rate/resolution/quality to low (1MB/s), 32 Live+16 Playback can be achieved. See Connection Manager and Connection Priority. | 16 Live and 1 Playback streams simultaneously | 48 Live or Playback streams simultaneously with a maximum of 6 streams per channel. If connection lease is transferred among users when connection limit is reached, the user whose connection is taken will be disconnected from the device and all videos closed - see Connection Manager. | 24 Live or Playback streams simultaneously with a maximum of 6 streams per channel. If connection lease is transferred among users when connection limit is reached, the user whose connection is taken will be disconnected from the device and all videos closed - see Connection Manager. | 32 Live and 16 Playback streams simultaneously This is however further restricted by the bandwidth maximum of 32 * 3MB/sec. Example: When all cameras are full D1 30FPS/ High quality (3MBs), you can only have 32 streams (i.e. 16 Live, 16 Playback). When you change the frame rate/resolution/quality to low (1MB/s), 32 Live+16 Playback can be achieved. See Connection Manager and Connection Priority. | 16 Live and 1 Playback streams simultaneously
Stream Overlay | Not Supported | Camera Name Date and Time | Camera Name Date and Time | Camera Name Date and Time | Camera Name Date and Time | Camera Name Date and Time | Camera Name Date and Time | Camera Name Date and Time | Camera Name Date and Time | Camera Name Date and Time | Camera Name Date and Time | Camera Name Date and Time | Camera Name Date and Time | Camera Name Date and Time | Camera Name Date / Time | Camera Name Date and Time | Configured on IP Camera | Camera Name Date and Time | Camera Name Date and Time | Camera Name Date and Time Bit rate Alarm Detection | Camera Name Date and Time Alarm Detection | Camera Name Date and Time | Camera Name Date and Time | Camera Name Date and Time Bit rate Alarm Detection | Camera Name Date and Time Alarm Detection
High / Low Bandwidth | No | No | No | No | No | Yes High/Low bandwidth stream switching is global and affects all cameras of a device. | Yes High/Low bandwidth stream switching is global and affects all cameras of a device. | No | No | No | No | No | No | No | Yes Low bandwidth configuration may be available on both primary and alternate streams. Low bandwidth options include off, live or live+record. Stream switching is supported during playback if each stream has been configured to record. | No | No | No | No | Yes Low bandwidth is only I-frames. High bandwidth is I and P-frames. | Yes High bandwidth is color video and Low Bandwidth is black and white video. | No | No | Yes Low bandwidth is only I-frames. High bandwidth is I and P-frames. | Yes High bandwidth is color video and Low Bandwidth is black and white video.
Dual Streaming | Depend on the actual device capabilities. | Yes | Primary and alternate streams are available on live view mode only. | Primary and alternate streams are available on live view mode only. | Primary and alternate streams are available on both live and playback. Dual streaming can be set on each camera rather than globally for the entire device. | Yes Primary/Alternate stream switching is global and affects all cameras of a device. Alternate stream switching during Playback is not supported. | Yes Primary/Alternate stream switching is global and affects all cameras of a device. Alternate stream switching during Playback is not supported. | Yes | Yes | Yes | Yes | Primary and alternate streams are available on live view mode only. | Primary and alternate streams are available on live view mode only. | Yes | Yes | Yes | No | Yes | Yes | No | No | Yes | Yes | No | No
Stream Nomenclature | The Mainstream is referred to as: TruVision Navigator = Mainstream The Sub stream is referred to as: TruVision Navigator = Alternate stream | The Mainstream is referred to as: On-Screen-Display = Time Lapse Web Browser = Mainstream TruVision Navigator = Mainstream The Sub stream is referred to as: On-Screen-Display = N/A Web Browser = Sub stream TruVision Navigator = Sub stream Event Stream is not supported on the device. | The Main stream is referred to as: On-Screen-Display = Time Lapse Web Browser = "Main Stream" TruVision Navigator = Main stream The Sub stream is referred to as: On-Screen-Display = Alarm Web Browser = "Sub stream") TruVision Navigator = Sub stream The Event stream is referred to as: On-Screen-Display = N/A Web Browser = Event TruVision Navigator = Event The Schedule stream is referred to as: On-Screen-Display = Schedule Web Browser = Schedule TruVision Navigator = Schedule | The Main stream is referred to as: On-Screen-Display = Time Lapse Web Browser = "Main Stream" TruVision Navigator = Main stream The Sub stream is referred to as: On-Screen-Display = Alarm Web Browser = "Sub stream") TruVision Navigator = Sub stream The Event stream is referred to as: On-Screen-Display = N/A Web Browser = Event TruVision Navigator = Event The Schedule stream is referred to as: On-Screen-Display = Schedule Web Browser = Schedule TruVision Navigator = Schedule | N/A | N/A | N/A | The Main stream is referred to as: On-Screen-Display = Schedule Web Browser = Main stream TruVision Navigator = Main stream The Sub stream is referred to as: On-Screen-Display = N/A Web Browser = Sub stream TruVision Navigator = Sub stream The Event stream is referred to as: On-Screen-Display = Event Web Browser = Event TruVision Navigator = Event The Time Lapse stream is referred to as: On-Screen-Display = Time Lapse Web Browser = Time Lapse TruVision Navigator = Time Lapse The Sub stream, Event, and Time Lapse streams are derivative configurations of the Main stream. Typically, the Main stream is recorded on a schedule, the Event stream is recorded on Event, the Time Lapse stream is recorded continuously, and the Sub stream can be viewed Live | The Main stream is referred to as: On-Screen-Display = Time Lapse Web Browser = "Main Stream" TruVision Navigator = Main stream The Sub stream is referred to as: On-Screen-Display = Alarm Web Browser = "Sub stream") TruVision Navigator = Sub stream The Event stream is referred to as: On-Screen-Display = N/A Web Browser = Event TruVision Navigator = Event The Schedule stream is referred to as: On-Screen-Display = Schedule Web Browser = Schedule TruVision Navigator = Schedule | The Main stream is referred to as: On-Screen-Display = Time Lapse Web Browser = "Main Stream" TruVision Navigator = Main stream The Sub stream is referred to as: On-Screen-Display = Alarm Web Browser = "Sub stream") TruVision Navigator = Sub stream The Event stream is referred to as: On-Screen-Display = N/A Web Browser = Event TruVision Navigator = Event The Schedule stream is referred to as: On-Screen-Display = Schedule Web Browser = Schedule TruVision Navigator = Schedule | The Main stream is referred to as: On-Screen-Display = Time Lapse Web Browser = Time Lapse TruVision Navigator = Main stream The Sub stream is referred to as: On-Screen-Display = Alarm Web Browser = Alarm TruVision Navigator = Sub stream The Event stream is referred to as: On-Screen-Display = N/A Web Browser = Event TruVision Navigator = Event The Schedule stream is referred to as: On-Screen-Display = Schedule Web Browser = Schedule TruVision Navigator = Schedule | The Main stream is referred to as: On-Screen-Display = Time Lapse Web Browser = "Main Stream" TruVision Navigator = Main stream The Sub stream is referred to as: On-Screen-Display = Alarm Web Browser = "Sub stream") TruVision Navigator = Sub stream The Event stream is referred to as: On-Screen-Display = N/A Web Browser = Event TruVision Navigator = Event The Schedule stream is referred to as: On-Screen-Display = Schedule Web Browser = Schedule TruVision Navigator = Schedule | The Main stream is referred to as: On-Screen-Display = Time Lapse Web Browser = Time Lapse TruVision Navigator = Main stream The Sub stream is referred to as: On-Screen-Display = Alarm Web Browser = Alarm TruVision Navigator = Sub stream The Event stream is referred to as: On-Screen-Display = N/A Web Browser = Event TruVision Navigator = Event The Schedule stream is referred to as: On-Screen-Display = Schedule Web Browser = Schedule TruVision Navigator = Schedule | The Main stream is referred to as: On-Screen-Display = Time Lapse Web Browser = "Main Stream" TruVision Navigator = Main stream The Sub stream is referred to as: On-Screen-Display = Alarm Web Browser = "Sub stream") TruVision Navigator = Sub stream The Event stream is referred to as: On-Screen-Display = N/A Web Browser = Event TruVision Navigator = Event The Schedule stream is referred to as: On-Screen-Display = Schedule Web Browser = Schedule TruVision Navigator = Schedule | N/A | The Main stream is referred to as: On-Screen-Display = Time Lapse Web Browser = "Main Stream" TruVision Navigator = Main stream The Sub stream is referred to as: On-Screen-Display = Alarm Web Browser = "Sub stream") TruVision Navigator = Sub stream The Event stream is referred to as: On-Screen-Display = N/A Web Browser = Event TruVision Navigator = Event The Schedule stream is referred to as: On-Screen-Display = Schedule Web Browser = Schedule TruVision Navigator = Schedule | N/A | The Main stream is referred to as: On-Screen-Display = Normal High Web Browser = Main stream TruVision Navigator = Main stream The Sub stream is referred to as: On-Screen-Display = N/A Web Browser = Sub stream TruVision Navigator = Sub stream The Event stream is referred to as: On-Screen-Display = Event Web Browser = Event TruVision Navigator = Event The Schedule stream is referred to as: On-Screen-Display = Normal Low Web Browser = Schedule TruVision Navigator = Schedule | The Main stream is referred to as: On-Screen-Display = Cont HQ Web Browser = Main stream TruVision Navigator = Main stream The Sub stream is referred to as: On-Screen-Display = N/A Web Browser = Sub stream TruVision Navigator = Sub stream The Event stream is referred to as: On-Screen-Display = Event Web Browser = Event TruVision Navigator = Event The Schedule stream is referred to as: On-Screen-Display = Cont LQ Web Browser = Schedule TruVision Navigator = Schedule | N/A | N/A | The Main stream is referred to as: On-Screen-Display = Cont HQ Web Browser = Main stream TruVision Navigator = Main stream The Sub stream is referred to as: On-Screen-Display = N/A Web Browser = Sub stream TruVision Navigator = Sub stream The Event stream is referred to as: On-Screen-Display = Event Web Browser = Event TruVision Navigator = Event The Schedule stream is referred to as: On-Screen-Display = Cont LQ Web Browser = Schedule TruVision Navigator = Schedule | The Main stream is referred to as: On-Screen-Display = Schedule Web Browser = Main stream TruVision Navigator = Main stream The Sub stream is referred to as: On-Screen-Display = N/A Web Browser = Sub stream TruVision Navigator = Sub stream The Event stream is referred to as: On-Screen-Display = Event Web Browser = Event TruVision Navigator = Event The Time Lapse stream is referred to as: On-Screen-Display = Time Lapse Web Browser = Time Lapse TruVision Navigator = Time Lapse The Sub stream, Event, and Time Lapse streams are derivative configurations of the Main stream. Typically, the Main stream is recorded on a schedule, the Event stream is recorded on Event, the Time Lapse stream is recorded continuously, and the Sub stream can be viewed Live | N/A | N/A
Playback Controls | Play Pause Frame Advance Fast Forward (1x, 2x,4x, 8x) Slow motion (1.0x, 0.5x, 0.25x, 0.125x, 0.0625x) Frame Reverse and Rewind Speeds are directly depending on the actual device capabilities. Video jumps back 4 seconds after resume playback from Fast Forward and Frame Advance. When fast forwarding video and it catches up to present time (or Live video), the video in the viewing will automatically switch to live view. | Play Pause Frame Advance Fast Forward (1x, 2x,4x, 8x 16x) Slow motion (1.0x, 0.5x, 0.25x, 0.125x, 0.0625x) Frame Reverse and Rewind Speeds are not supported. Video jumps back 4 seconds after resume playback from Fast Forward and Frame Advance. When fast forwarding video and it catches up to present time (or Live video), the video in the viewing tile will remain paused until the user clicks the Live button in the Viewer Toolbar. No other playback controls will work until the Live button is selected. | Play Pause Frame Advance Fast Forward (1x, 2x,4x, 8x) Slow motion (1.0x, 0.5x, 0.25x, 0.125x, 0.0625x) Rewind (1x, 2x, 4x) - 8 simultaneously Video jumps back 4 seconds after resume playback from Fast Forward and Frame Advance. When fast forwarding video and it catches up to present time (or Live video), the video in the viewing will automatically switch to live view. | Play Pause Frame Advance Fast Forward (1x, 2x,4x, 8x) Slow motion (1.0x, 0.5x, 0.25x, 0.125x, 0.0625x) Rewind (1x, 2x, 4x) - 8 simultaneously Video jumps back 4 seconds after resume playback from Fast Forward and Frame Advance. When fast forwarding video and it catches up to present time (or Live video), the video in the viewing will automatically switch to live view. | Play Pause Frame Advance Fast Forward (1x,2x,4x,8x) Frame Reverse Rewind (1x,2x,4x,8x) | Play Pause Frame Advance Fast Forward (2x, 4x, 8x, 16x, 32x) Frame Reverse Rewind (2x, 4x, 8x, 16x, 32x) When fast forwarding video and it catches up to present time (or Live video), the video in the viewing tile will remain paused until the user clicks the Live button in the Viewer Toolbar. No other playback controls will work until the Live button is selected. Live and Playback video will drop frames and slow down if there is substantial network traffic. When executing a seek operation for playback, video will temporarily switch to live, and then switch to the new seek time. | Play Pause Frame Advance Fast Forward (2x, 4x, 8x, 16x, 32x) Frame Reverse Rewind (2x, 4x, 8x, 16x, 32x) When fast forwarding video and it catches up to present time (or Live video), the video in the viewing tile will remain paused until the user clicks the Live button in the Viewer Toolbar. No other playback controls will work until the Live button is selected. Live and Playback video will drop frames and slow down if there is substantial network traffic. When executing a seek operation for playback, video will temporarily switch to live, and then switch to the new seek time. | Play Pause Frame Advance Fast Forward (1x, 2x,4x, 8x 16x) Slow motion (1.0x, 0.5x, 0.25x, 0.125x, 0.0625x) Frame Reverse and Rewind Speeds are not supported. Video jumps back 4 seconds after resume playback from Fast Forward and Frame Advance. When fast forwarding video and it catches up to present time (or Live video), the video in the viewing tile will remain paused until the user clicks the Live button in the Viewer Toolbar. No other playback controls will work until the Live button is selected. | Play Pause Frame Advance Fast Forward (1x, 2x,4x, 8x) Slow motion (1.0x, 0.5x, 0.25x, 0.125x, 0.0625x) Rewind (1x, 2x, 4x) Video jumps back 4 seconds after resume playback from Fast Forward and Frame Advance. When fast forwarding video and it catches up to present time (or Live video), the video in the viewing will automatically switch to live view. | Play Pause Frame Advance Fast Forward (1x, 2x,4x, 8x) Slow motion (1.0x, 0.5x, 0.25x, 0.125x, 0.0625x) Rewind (1x, 2x, 4x) Video jumps back 4 seconds after resume playback from Fast Forward and Frame Advance. When fast forwarding video and it catches up to present time (or Live video), the video in the viewing will automatically switch to live view. | Play Pause Frame Advance Fast Forward (1x, 2x,4x,8x,16x) Slow motion (1.0x, 0.5x, 0.25x, 0.125x, 0.0625x) Frame Reverse and Rewind Speeds are not supported. Video jumps back 4 seconds after resume playback from Fast Forward and Frame Advance. When fast forwarding video and it catches up to present time (or Live video), the video in the viewing tile will remain paused until the user clicks the Live button in the Viewer Toolbar. No other playback controls will work until the Live button is selected. | Play Pause Frame Advance Fast Forward (1x, 2x,4x, 8x) Slow motion (1.0x, 0.5x, 0.25x, 0.125x,) Rewind (1x, 2x, 4x) Video jumps back 4 seconds after resume playback from Fast Forward and Frame Advance. When fast forwarding video and it catches up to present time (or Live video), the video in the viewing will automatically switch to live view. | Play Pause Frame Advance Fast Forward (1x, 2x,4x,8x,16x) Slow motion (1.0x, 0.5x, 0.25x, 0.125x) Frame Reverse and Rewind Speeds are not supported. Video jumps back 4 seconds after resume playback from Fast Forward and Frame Advance. When fast forwarding video and it catches up to present time (or Live video), the video in the viewing tile will remain paused until the user clicks the Live button in the Viewer Toolbar. No other playback controls will work until the Live button is selected. | Play Pause Frame Advance Fast Forward (1x, 2x,4x,8x,16x) Slow motion (1.0x, 0.5x, 0.25x, 0.125x) Frame Reverse and Rewind Speeds are not supported. Video jumps back 4 seconds after resume playback from Fast Forward and Frame Advance. When fast forwarding video and it catches up to present time (or Live video), the video in the viewing tile will remain paused until the user clicks the Live button in the Viewer Toolbar. No other playback controls will work until the Live button is selected. | Play Pause Frame Advance Fast Forward (2x, 4x, 8x, 16x, 32x, 64x, 128x) Frame Reverse Rewind (2x, 4x, 8x, 16x, 32x, 64x, 128x) When fast forwarding video and it catches up to present time (or Live video), the video in the viewing tile will switch to Live. If there is a difference between the PC time and the TVN40 time, there may be slight inconsistencies with the results of a seek. | Play Pause Frame Advance Fast Forward (1x, 2x,4x, 8x) Slow motion (1.0x, 0.5x, 0.25x, 0.125x,) Rewind (1x, 2x, 4x) Video jumps back 4 seconds after resume playback from Fast Forward and Frame Advance. When fast forwarding video and it catches up to present time (or Live video), the video in the viewing will automatically switch to live view. | Play Pause Frame Advance Fast Forward (2x, 4x, 8x) | Play Pause Frame Advance Fast Forward (2x,4x,8x,16x) Frame Reverse, Rewind, and Playback Speeds are not supported. Video jumps back 4 seconds after resume playback from Fast Forward and Frame Advance. When fast forwarding video and it catches up to present time (or Live video), the video in the viewing tile will remain paused until the user clicks the Live button in the Viewer Toolbar. No other playback controls will work until the Live button is selected. | Play Pause Frame Advance Fast Forward (2x,4x,8x,16x) Frame Reverse, Rewind, and Playback Speeds are not supported. Video jumps back 4 seconds after resume playback from Fast Forward and Frame Advance. When fast forwarding video and it catches up to present time (or Live video), the video in the viewing tile will remain paused until the user clicks the Live button in the Viewer Toolbar. No other playback controls will work until the Live button is selected. | Switch to Live Switch to Playback Play Pause Frame Advance Fast Forward (4x,8x,16x,32x,,64x,100x, 300x) Frame Reverse Rewind (4x,8x,16x,32x,,64x,100x, 300x) When fast forwarding video and it catches up to present time (or Live video), the video in the viewing tile pauses and will resume fast forward as video becomes available. | Switch to Live Switch to Playback Play Pause Frame Advance Fast Forward (4x,8x,16x,32x,,64x,100x, 300x) Frame Reverse Rewind (4x,8x,16x,32x,,64x,100x, 300x) Adjustable Playback Speed When fast forwarding video and it catches up to present time (or Live video), the video in the viewing tile will begin to play at the beginning of the recorded video. | Play Pause Frame Advance Fast Forward (2x,4x,8x,16x) Frame Reverse, Rewind, and Playback Speeds are not supported. Video jumps back 4 seconds after resume playback from Fast Forward and Frame Advance. When fast forwarding video and it catches up to present time (or Live video), the video in the viewing tile will remain paused until the user clicks the Live button in the Viewer Toolbar. No other playback controls will work until the Live button is selected. | Play Pause Frame Advance Fast Forward (2x,4x) Frame Reverse, Rewind, and Playback Speeds are not supported. Video jumps back 4 seconds after resume playback from Fast Forward and Frame Advance. When fast forwarding video and it catches up to present time (or Live video), the video in the viewing tile will remain paused until the user clicks the Live button in the Viewer Toolbar. No other playback controls will work until the Live button is selected. | Play Pause Frame Advance Fast Forward (4x,8x,16x,32x,,64x,100x, 300x) Frame Reverse Rewind (4x,8x,16x,32x,,64x,100x, 300x) When fast forwarding video and it catches up to present time (or Live video), the video in the viewing tile pauses and will resume fast forward as video becomes available. | Play Pause Frame Advance Fast Forward (4x,8x,16x,32x,,64x,100x, 300x) Frame Reverse Rewind (4x,8x,16x,32x,,64x,100x, 300x) Adjustable Playback Speed When fast forwarding video and it catches up to present time (or Live video), the video in the viewing tile will begin to play at the beginning of the recorded video.
Digital Zoom | Live & Playback | Live & Playback | Live & Playback | Live & Playback | No | No | No | Live & Playback | Live & Playback | Live & Playback | Live & Playback | Live & Playback | Live & Playback | Live & Playback | Live and Playback | Live & Playback | Yes | Live & Playback | Live & Playback | No | No | Live & Playback | Live & Playback | No | No
Snapshot | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Local Record | Yes | Yes Pause during local record is not supported. | Yes | Yes | Yes | Yes The device only supports local record for one camera at a time. If user has a local recording going and tries to initiate another camera from the same device, the original local recording will be stopped and a then the new local recording will begin. | Yes The device only supports local record for one camera at a time. If user has a local recording going and tries to initiate another camera from the same device, the original local recording will be stopped and a then the new local recording will begin. | Yes Pause during local record is not supported. | Yes | Yes | Yes Pause during local record is not supported. | Yes Pause during local record is not supported. | Yes Pause during local record is not supported. | Yes Pause during local record is not supported. | Yes | Yes Pause during local record is not supported. | Yes | Yes Pause during local record is not supported. | Yes Pause during local record is not supported. | Yes | Yes | Yes Pause during local record is not supported. | Yes Pause during local record is not supported. | Yes | Yes
Instant Replay | Yes | Yes There is a 2 to 5 minute video buffer in the device. While video is in the buffer, it cannot be viewed. Once the buffer fills, the video is written to the hard drive and is available for playback. This affects Instant Replay and the Playback button in TruVision Navigator. Those 2 features get their time increment from the user-defined Instant Replay configuration on the TruVision Navigator Server Properties Tab. As a result, set this time increment to greater than 5 minutes to be safe. If you try to search for video that is still in the buffer, you will be taken to Live video. | Yes There is a 2 to 5 minute video buffer in the device. While video is in the buffer, it cannot be viewed. Once the buffer fills, the video is written to the hard drive and is available for playback. This affects Instant Replay and the Playback button in TruVision Navigator. Those 2 features get their time increment from the user-defined Instant Replay configuration on the TruVision Navigator Server Properties Tab. As a result, set this time increment to greater than 5 minutes to be safe. If you try to search for video that is still in the buffer, you will be taken to Live video. | Yes There is a 2 to 5 minute video buffer in the device. While video is in the buffer, it cannot be viewed. Once the buffer fills, the video is written to the hard drive and is available for playback. This affects Instant Replay and the Playback button in TruVision Navigator. Those 2 features get their time increment from the user-defined Instant Replay configuration on the TruVision Navigator Server Properties Tab. As a result, set this time increment to greater than 5 minutes to be safe. If you try to search for video that is still in the buffer, you will be taken to Live video. | Yes | Yes | Yes | Yes There is a 2 to 5 minute video buffer in the device. While video is in the buffer, it cannot be viewed. Once the buffer fills, the video is written to the hard drive and is available for playback. This affects Instant Replay and the Playback button in TruVision Navigator. Those 2 features get their time increment from the user-defined Instant Replay configuration on the TruVision Navigator Server Properties Tab. As a result, set this time increment to greater than 5 minutes to be safe. If you try to search for video that is still in the buffer, you will be taken to Live video. | Yes | Yes | Yes There is a 2 to 5 minute video buffer in the device. While video is in the buffer, it cannot be viewed. Once the buffer fills, the video is written to the hard drive and is available for playback. This affects Instant Replay and the Playback button in TruVision Navigator. Those 2 features get their time increment from the user-defined Instant Replay configuration on the TruVision Navigator Server Properties Tab. As a result, set this time increment to greater than 5 minutes to be safe. If you try to search for video that is still in the buffer, you will be taken to Live video. | Yes There is a 2 to 5 minute video buffer in the device. While video is in the buffer, it cannot be viewed. Once the buffer fills, the video is written to the hard drive and is available for playback. This affects Instant Replay and the Playback button in TruVision Navigator. Those 2 features get their time increment from the user-defined Instant Replay configuration on the TruVision Navigator Server Properties Tab. As a result, set this time increment to greater than 5 minutes to be safe. If you try to search for video that is still in the buffer, you will be taken to Live video. | Yes There is a 2 to 5 minute video buffer in the device. While video is in the buffer, it cannot be viewed. Once the buffer fills, the video is written to the hard drive and is available for playback. This affects Instant Replay and the Playback button in TruVision Navigator. Those 2 features get their time increment from the user-defined Instant Replay configuration on the TruVision Navigator Server Properties Tab. As a result, set this time increment to greater than 5 minutes to be safe. If you try to search for video that is still in the buffer, you will be taken to Live video. | Yes There is a 2 to 5 minute video buffer in the device. While video is in the buffer, it cannot be viewed. Once the buffer fills, the video is written to the hard drive and is available for playback. This affects Instant Replay and the Playback button in TruVision Navigator. Those 2 features get their time increment from the user-defined Instant Replay configuration on the TruVision Navigator Server Properties Tab. As a result, set this time increment to greater than 5 minutes to be safe. If you try to search for video that is still in the buffer, you will be taken to Live video. | Yes | Yes There is a 2 to 5 minute video buffer in the device. While video is in the buffer, it cannot be viewed. Once the buffer fills, the video is written to the hard drive and is available for playback. This affects Instant Replay and the Playback button in TruVision Navigator. Those 2 features get their time increment from the user-defined Instant Replay configuration on the TruVision Navigator Server Properties Tab. As a result, set this time increment to greater than 5 minutes to be safe. If you try to search for video that is still in the buffer, you will be taken to Live video. | Yes | Yes There is a 2 to 5 minute video buffer in the device. While video is in the buffer, it cannot be viewed. Once the buffer fills, the video is written to the hard drive and is available for playback. This affects Instant Replay and the Playback button in TruVision Navigator. Those 2 features get their time increment from the user-defined Instant Replay configuration on the TruVision Navigator Server Properties Tab. As a result, set this time increment to greater than 5 minutes to be safe. If you try to search for video that is still in the buffer, you will be taken to Live video. | Yes There is a 2 to 5 minute video buffer in the device. While video is in the buffer, it cannot be viewed. Once the buffer fills, the video is written to the hard drive and is available for playback. This affects Instant Replay and the Playback button in TruVision Navigator. Those 2 features get their time increment from the user-defined Instant Replay configuration on the TruVision Navigator Server Properties Tab. As a result, set this time increment to greater than 5 minutes to be safe. If you try to search for video that is still in the buffer, you will be taken to Live video. | Yes | Yes | Yes There is a 2 to 5 minute video buffer in the device. While video is in the buffer, it cannot be viewed. Once the buffer fills, the video is written to the hard drive and is available for playback. This affects Instant Replay and the Playback button in TruVision Navigator. Those 2 features get their time increment from the user-defined Instant Replay configuration on the TruVision Navigator Server Properties Tab. As a result, set this time increment to greater than 5 minutes to be safe. If you try to search for video that is still in the buffer, you will be taken to Live video. | Yes There is a 2 to 5 minute video buffer in the device. While video is in the buffer, it cannot be viewed. Once the buffer fills, the video is written to the hard drive and is available for playback. This affects Instant Replay and the Playback button in TruVision Navigator. Those 2 features get their time increment from the user-defined Instant Replay configuration on the TruVision Navigator Server Properties Tab. As a result, set this time increment to greater than 5 minutes to be safe. If you try to search for video that is still in the buffer, you will be taken to Live video. | Yes | Yes
Disk Analysis | Alarm Motion Recorded Untagged Video Loss is not supported in disk analysis. Disk analysis takes approximately 15-45 seconds depending on the amount of recorded data on the device. | Alarm Motion Recorded Untagged Video Loss is not supported in disk analysis. Disk analysis takes approximately 15-45 seconds depending on the amount of recorded data on the device. | Alarm Motion Recorded Untagged Video Loss is not supported in disk analysis. Disk analysis takes approximately 15-45 seconds depending on the amount of recorded data on the device. | Alarm Motion Recorded Untagged Video Loss is not supported in disk analysis. Disk analysis takes approximately 15-45 seconds depending on the amount of recorded data on the device. | Alarm Motion Video Loss Untagged | Alarm Motion Video Loss Untagged Disk analysis takes approximately 30-60 seconds depending on the amount of recorded data on the device. | Alarm Motion Video Loss Untagged Disk analysis takes approximately 30-60 seconds depending on the amount of recorded data on the device. | Alarm Motion Recorded Untagged Video Loss is not supported in disk analysis. Disk analysis takes approximately 45 to 90 seconds depending on the amount of recorded data on the device. | Alarm Motion Recorded Untagged Video Loss is not supported in disk analysis. Disk analysis takes approximately 15-45 seconds depending on the amount of recorded data on the device. | Alarm Motion Recorded Untagged Video Loss is not supported in disk analysis. Disk analysis takes approximately 15-45 seconds depending on the amount of recorded data on the device. | Alarm Motion Recorded Untagged Video Loss is not supported in disk analysis. Disk analysis takes approximately 45 to 90 seconds depending on the amount of recorded data on the device. | Alarm Motion Recorded Untagged Video Loss is not supported in disk analysis. Disk analysis takes approximately 45 to 90 seconds depending on the amount of recorded data on the device. | Alarm Motion Recorded Untagged Video Loss is not supported in disk analysis. Disk analysis takes approximately 45 to 90 seconds depending on the amount of recorded data on the device. | Alarm Motion Recorded Untagged Video Loss is not supported in disk analysis. Disk analysis takes approximately 45 to 90 seconds depending on the amount of recorded data on the device. | Alarm Recorded Untagged | Alarm Motion Recorded Untagged Video Loss is not supported in disk analysis. Disk analysis takes approximately 45 to 90 seconds depending on the amount of recorded data on the device. | Alarm Motion Recorded Untagged Video Loss | Alarm Motion Recorded Untagged Video Loss is not supported in disk analysis. Disk analysis takes approximately 45 to 90 seconds depending on the amount of recorded data on the device. | Alarm Motion Recorded Untagged Video Loss is not supported in disk analysis. Disk analysis takes approximately 45 to 90 seconds depending on the amount of recorded data on the device. | Alarm Motion Video Loss Recorded Untagged (video data may or may not be tagged with a type, and therefore, is marked as untagged) | Alarm Motion Video Loss Recorded Untagged (video data may or may not be tagged with a type, and therefore is marked as untagged) | Alarm Motion Recorded Untagged Video Loss is not supported in disk analysis. Disk analysis takes approximately 45 to 90 seconds depending on the amount of recorded data on the device. | Alarm Motion Recorded Untagged Video Loss is not supported in disk analysis. Disk analysis takes approximately 45 to 90 seconds depending on the amount of recorded data on the device. | Alarm Motion Video Loss Recorded Untagged | Alarm Motion Video Loss Recorded Untagged
Video Export | Yes | Yes There will be approximately 4 seconds of additional video exported prior to the specified start time. | Yes There will be approximately 4 seconds of additional video exported prior to the specified start time. | Yes There will be approximately 4 seconds of additional video exported prior to the specified start time. | Yes | Yes The file size approximation in the Collector for video export is not accurate for this device. | Yes The file size approximation in the Collector for video export is not accurate for this device. | Yes There will be approximately 4 seconds of additional video exported prior to the specified start time. | Yes There will be approximately 4 seconds of additional video exported prior to the specified start time. | Yes There will be approximately 4 seconds of additional video exported prior to the specified start time. | Yes There will be approximately 4 seconds of additional video exported prior to the specified start time. | Yes There will be approximately 4 seconds of additional video exported prior to the specified start time. | Yes There will be approximately 4 seconds of additional video exported prior to the specified start time. | Yes There will be approximately 4 seconds of additional video exported prior to the specified start time. | Yes | Yes There will be approximately 4 seconds of additional video exported prior to the specified start time. | Yes | Yes There will be approximately 4 seconds of additional video exported prior to the specified start time. | Yes There will be approximately 4 seconds of additional video exported prior to the specified start time. | Yes | Yes | Yes There will be approximately 4 seconds of additional video exported prior to the specified start time. | Yes There will be approximately 4 seconds of additional video exported prior to the specified start time. | Yes | Yes
TruVision Navigator Player | Yes .mp4 proprietary file format. | Yes .mp4 proprietary file format. | Yes .mp4 proprietary file format. | Yes .mp4 proprietary file format. | Yes .avr proprietary file format. | Yes .video proprietary file format. | Yes .video proprietary file format. | Yes .mp4 proprietary file format. | Yes .mp4 proprietary file format. | Yes .mp4 proprietary file format. | Yes .mp4 proprietary file format. | Yes .mp4 proprietary file format. | Yes .mp4 proprietary file format. | Yes .mp4 proprietary file format. | Yes .video proprietary file format. | Yes .mp4 proprietary file format. | Yes svr.video - Interlogix proprietary format | Yes .mp4 proprietary file format. | Yes .mp4 proprietary file format. | Yes - .mpc proprietary file format | Yes - .wvf proprietary file format | Yes .mp4 proprietary file format. | Yes .mp4 proprietary file format. | Yes .mpc proprietary file format | Yes .wvf proprietary file format
PTZ Control | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes When configuring PTZ on the UltraView Encoder connected to the Legend IP camera, set the Protocol in TruVision Navigator to “Kalatel” and the protocol to GE ASCII on the physical GE Legend IP camera (Protocol #5 on list). | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Focus, Iris, Zoom | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes PTZ protocol GE RS-485 does not support Focus and Iris commands in this release. | Yes | Yes | Yes PTZ protocol GE RS-485 does not support Focus and Iris commands in this release. | Yes PTZ protocol GE RS-485 does not support Focus and Iris commands in this release. | Yes PTZ protocol GE RS-485 does not support Focus and Iris commands in this release. | Yes PTZ protocol GE RS-485 does not support Focus and Iris commands in this release. | Yes | Yes PTZ protocol GE RS-485 does not support Focus and Iris commands in this release. | Yes | Yes PTZ protocol GE RS-485 does not support Focus and Iris commands in this release. | Yes PTZ protocol GE RS-485 does not support Focus and Iris commands in this release. | Yes | Yes | Yes PTZ protocol GE RS-485 does not support Focus and Iris commands in this release. | Yes PTZ protocol GE RS-485 does not support Focus and Iris commands in this release. | Yes | Yes
Presets | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Tours | No | Go To Record Only 1 tour is supported (which is hard coded to Tour 1 on the PTZ camera). | Go To Record Only 1 tour is supported (which is hard coded to Tour 1 on the PTZ camera). | Go To Record Only 1 tour is supported (which is hard coded to Tour 1 on the PTZ camera). | No | No | No | Go To Record Only 1 tour is supported (which is hard coded to Tour 1 on the PTZ camera). | Go To Record Only 1 tour is supported (which is hard coded to Tour 1 on the PTZ camera). | Go To Record Only 1 tour is supported (which is hard coded to Tour 1 on the PTZ camera). | Go To Record Only 1 tour is supported (which is hard coded to Tour 1 on the PTZ camera). | Go To Record Only 1 tour is supported (which is hard coded to Tour 1 on the PTZ camera). | Go To Record Only 1 tour is supported (which is hard coded to Tour 1 on the PTZ camera). | Go To Record Only 1 tour is supported (which is hard coded to Tour 1 on the PTZ camera). | No | Go To Record Only 1 tour is supported (which is hard coded to Tour 1 on the PTZ camera). | Yes (PTZ must support this feature) | No | No | Go To Record 16 tours are supported | No Go To and Record is not supported. | No | Go To Record Only 1 tour is supported (which is hard coded to Tour 1 on the PTZ camera). | Go To Record 16 tours are supported | No
Camera Search | Alarm Event Motion Text Other | Alarm Event Motion Other | Alarm Event Motion Text Other | Alarm Event Motion Text Other | Alarm Motion Text | Alarm Event Motion Text | Alarm Event Motion Text | Alarm Event Motion Text Other | Alarm Event Motion Text Other | Alarm Event Motion Text Other | Alarm Event Motion Other | Alarm Event Motion Other | Alarm event Motion Other | Alarm Event Motion Other | Alarm | Alarm Event Motion Other | Alarm Event Motion Others Date/Time | Alarm Event Motion | Alarm Event Motion | Alarm Event Motion Text Text Search is not available on SymDec 1 | Alarm Event Motion Text However, Text Search is not available on the DVMRe CS, DVMRe CD, DSR, or DVSE models. | Alarm Event Motion Other | Alarm Event Motion Other | Alarm Event Motion Text Text Search is not available on SymDec 1 | Alarm Event Motion Text However, Text Search is not available on the DVMRe CS, DVMRe CD, DSR, or DVSE models.
Smart Search | No | No | Yes* (Browser Only) | Yes* (Browser Only) | Yes | No | No | No | Yes* (Browser Only) | Yes* (Browser Only) | No | No | No | No | No | No | No | No | No | Yes | Yes | No | No | Yes | Yes
Point-of-Sale Text | No | No | Yes | Yes | Yes Overlay on video only (via the Settings Dialog - In Band setting) | Yes Overlay on video or placed next to the video (via the Settings Dialog - In Band or Out of Band setting) | Yes Overlay on video or placed next to the video (via the Settings Dialog - In Band or Out of Band setting) | Yes Overlay on video only (via the Settings Dialog - In Band setting) | Yes | Yes | No | No | No | Yes | No | Yes | No | No | No | Yes Overlay on video or placed next to the video (via the Settings Dialog - In Band or Out of Band setting) | Yes Overlay on video or placed next to the video (via the Settings Dialog - In Band or Out of Band setting) | No | Yes Overlay on video only (via the Settings Dialog - In Band setting) | Yes Overlay on video or placed next to the video (via the Settings Dialog - In Band or Out of Band setting) | Yes Overlay on video or placed next to the video (via the Settings Dialog - In Band or Out of Band setting)
Motion | No | Yes Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera. | Yes Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera. | Yes Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera. | Yes Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera on the Cameras Tab. | Yes Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera on the Cameras Tab. | Yes Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera on the Cameras Tab. | Yes Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera. | Yes Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera. | Yes Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera. | Yes Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera. | Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera. | Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera. | Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera. | Yes For each IP Camera, the active zone needs to be setup on the camera itself via the camera's browser. Once complete, launch the camera configuration in TruVision Navigator and ensure the Motion checkbox is enabled and click Save. | Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera. | Yes | Yes Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera. | Yes Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera. | Yes Get the configuration for these devices via TruVision Navigator and set the active zones on a per camera basis via the Motion Detection Tabs associated with each camera. | Yes Get the configuration for these devices via TruVision Navigator and set the active zones on a per camera basis via the Motion Detection Tabs associated with each camera. | Yes Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera. | Yes Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera. | Yes Get the configuration for these devices via TruVision Navigator and set the active zones on a per camera basis via the Motion Detection Tabs associated with each camera. | Yes Get the configuration for these devices via TruVision Navigator and set the active zones on a per camera basis via the Motion Detection Tabs associated with each camera.
Audio | Yes | Yes There is 1 audio input per device. That input can be mapped to any camera on the device simply by enabling audio on that camera. Access the setting by going to the device configuration, and enabling the audio option on the Recording Tab for each camera. If enabled, as soon as any camera from the device is added in the TruVision Navigator Viewer and selected, the audio will play. | Yes There is 4 audio input per device. That input can be mapped to any camera on the device simply by enabling audio on that camera. Access the setting by going to the device configuration, and enabling the audio option on the Recording Tab for each camera. If enabled, as soon as any camera from the device is added in the TruVision Navigator Viewer and selected, the audio will play. | Yes There is 4 audio input per device. That input can be mapped to any camera on the device simply by enabling audio on that camera. Access the setting by going to the device configuration, and enabling the audio option on the Recording Tab for each camera. If enabled, as soon as any camera from the device is added in the TruVision Navigator Viewer and selected, the audio will play. | Yes 4 channel and 8 channel devices have 2 audio input ports. 16 channel has 4 audio input ports. Audio channels corresponds to cameras. (i.e. port 1 to camera 1, port 2 to camera 2.) | Yes There is 1 audio input per channel. Enabling audio on the device is a per channel setting. Access the settings by going to the device configuration, and enabling the audio option on the Cameras Tab for each camera. If enabled, as soon as any camera from the device is added in the TruVision Navigator Viewer and selected, the audio will play. Audio is not supported when switching to the Alternate stream. | Yes There is 1 audio input per channel. Enabling audio on the device is a per channel setting. Access the settings by going to the device configuration, and enabling the audio option on the Cameras Tab for each camera. If enabled, as soon as any camera from the device is added in the TruVision Navigator Viewer and selected, the audio will play. Audio is not supported when switching to the Alternate stream. | Yes There are 16 audio inputs per device (1 per channel). Enabling audio on the device is a per channel setting. Access the settings by going to the device configuration, and enabling the audio option on the Recording Tab for each camera. If enabled, as soon as any camera from the device is added in the TruVision Navigator Viewer and selected, the audio will play. | Yes There is 4 audio input per device. That input can be mapped to any camera on the device simply by enabling audio on that camera. Access the setting by going to the device configuration, and enabling the audio option on the Recording Tab for each camera. If enabled, as soon as any camera from the device is added in the TruVision Navigator Viewer and selected, the audio will play. | Yes There is 4 audio input per device. That input can be mapped to any camera on the device simply by enabling audio on that camera. Access the setting by going to the device configuration, and enabling the audio option on the Recording Tab for each camera. If enabled, as soon as any camera from the device is added in the TruVision Navigator Viewer and selected, the audio will play. | Yes There are 16 audio inputs per device (1 per channel). Enabling audio on the device is a per channel setting. Access the settings by going to the device configuration, and enabling the audio option on the Recording Tab for each camera. If enabled, as soon as any camera from the device is added in the TruVision Navigator Viewer and selected, the audio will play. | Yes There is 1 audio input per device. Enabling audio on the device is a per channel setting. Access the settings by going to the device configuration, and enabling the audio option on the Recording Tab for each camera. If enabled, as soon as any camera from the device is added in the TruVision Navigator Viewer and selected, the audio will play. | Yes There are 16 audio inputs per device (1 per channel). Enabling audio on the device is a per channel setting. Access the settings by going to the device configuration, and enabling the audio option on the Recording Tab for each camera. If enabled, as soon as any camera from the device is added in the TruVision Navigator Viewer and selected, the audio will play. | Yes There are 16 audio inputs per device (1 per channel). Enabling audio on the device is a per channel setting. Access the settings by going to the device configuration, and enabling the audio option on the Recording Tab for each camera. If enabled, as soon as any camera from the device is added in the TruVision Navigator Viewer and selected, the audio will play. | No | Yes There are 16 audio inputs per device (1 per channel). Enabling audio on the device is a per channel setting. Access the settings by going to the device configuration, and enabling the audio option on the Recording Tab for each camera. If enabled, as soon as any camera from the device is added in the TruVision Navigator Viewer and selected, the audio will play. | Yes | Yes Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera. | Yes Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera. | Yes There are 2 (SymSafe) or 4 (SymDec) audio inputs per device that are mapped to Cameras 1 to 2 or 1 to 4 respectively. Microphones would need to be in the locations with those cameras. Enabling audio on the device is a per channel setting. Access the setting by going to the camera configuration, and enabling the audio option on the Recording Tab. If enabled, you can hear audio by adding that camera in the Viewer and selecting it. Audio will only play for the selected camera. | Yes An audio module is required in these units. There is 1 audio input per device. That input can be mapped to any camera on the device simply by where the microphone is located. Enabling audio on the device is a global setting. Access the setting by going to the device configuration, and enabling the G711 audio option on the Audio Setup Tab. If enabled, as soon as any camera from the device is added in the TruVision Navigator Viewer, the audio will play. | Yes Get the configuration for this device via TruVision Navigator and set the active zones on a per camera basis via the Motion Configuration option associated with each camera. | Yes There are 16 audio inputs per device (1 per channel). Enabling audio on the device is a per channel setting. Access the settings by going to the device configuration, and enabling the audio option on the Recording Tab for each camera. If enabled, as soon as any camera from the device is added in the TruVision Navigator Viewer and selected, the audio will play. | Yes There are 2 (SymSafe) or 4 (SymDec) audio inputs per device that are mapped to Cameras 1 to 2 or 1 to 4 respectively. Microphones would need to be in the locations with those cameras. Enabling audio on the device is a per channel setting. Access the setting by going to the camera configuration, and enabling the audio option on the Recording Tab. If enabled, you can hear audio by adding that camera in the Viewer and selecting it. Audio will only play for the selected camera. | Yes An audio module is required in these units. There is 1 audio input per device. That input can be mapped to any camera on the device simply by where the microphone is located. Enabling audio on the device is a global setting. Access the setting by going to the device configuration, and enabling the G711 audio option on the Audio Setup Tab. If enabled, as soon as any camera from the device is added in the TruVision Navigator Viewer, the audio will play.
Bi-directional Audio | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | No | Yes | No | Yes | Yes | Yes | No | Yes | Yes | Yes | No
Notifications | No | Alarm Video Loss Motion Disk Full Disk Failure To setup the device to send TCP notifications for cameras, right-click on the device in the Navigator and select Configure Device. On the Camera Tab’s Event Section, select the events you would like to receive and set the schedules as appropriate. On the Camera Tab’s Rules Section, for each event type, ensure that “notify me” is selected. Repeat for each event type. On the Notifications Tab, the Notify IP Address should be the IP address of where the TruVision Navigator Server service is located (Notification Processor). The Notify Port is defaulted to 5001 and is editable. Ensure this port matches the one listed on the TruVision Navigator Server - Notifications Dialog. To setup the device to send TCP notifications for the device itself (i.e. Disk Full and Disk Failure), right-click on the device in the Navigator and select Configure Device. On the Notification Tab, for each notification type, ensure that “notify me” is selected. Repeat for each notification type and click Save. Ensure the notification port on the device matches that of TruVision Navigator Server as described above. Restart the Notification Processor service for TruVision Navigator to process the notifications. Email notification is not supported at the device-level. | Alarm Video Loss Motion Disk Full Disk Failure To setup the device to send TCP notifications for cameras, right-click on the device in the Navigator and select Configure Device. On the Camera Tab’s Event Section, select the events you would like to receive and set the schedules as appropriate. On the Camera Tab’s Rules Section, for each event type, ensure that “notify me” is selected. Repeat for each event type. On the Notifications Tab, the Notify IP Address should be the IP address of where the TruVision Navigator Server service is located (Notification Processor). The Notify Port is defaulted to 5001 and is editable. Ensure this port matches the one listed on the TruVision Navigator Server - Notifications Dialog. To setup the device to send TCP notifications for the device itself (i.e. Disk Full and Disk Failure), right-click on the device in the Navigator and select Configure Device. On the Notification Tab, for each notification type, ensure that “notify me” is selected. Repeat for each notification type and click Save. Ensure the notification port on the device matches that of TruVision Navigator Server as described above. Restart the Notification Processor service for TruVision Navigator to process the notifications. Email notification is not supported at the device-level. | Alarm Video Loss Motion Disk Full Disk Failure To setup the device to send TCP notifications for cameras, right-click on the device in the Navigator and select Configure Device. On the Camera Tab’s Event Section, select the events you would like to receive and set the schedules as appropriate. On the Camera Tab’s Rules Section, for each event type, ensure that “notify me” is selected. Repeat for each event type. On the Notifications Tab, the Notify IP Address should be the IP address of where the TruVision Navigator Server service is located (Notification Processor). The Notify Port is defaulted to 5001 and is editable. Ensure this port matches the one listed on the TruVision Navigator Server - Notifications Dialog. To setup the device to send TCP notifications for the device itself (i.e. Disk Full and Disk Failure), right-click on the device in the Navigator and select Configure Device. On the Notification Tab, for each notification type, ensure that “notify me” is selected. Repeat for each notification type and click Save. Ensure the notification port on the device matches that of TruVision Navigator Server as described above. Restart the Notification Processor service for TruVision Navigator to process the notifications. Email notification is not supported at the device-level. | Alarm Motion Video Loss Disk failed Disk full Fan failed Abnormal temperature Device powered up Recording stopped Recording started Authentication lockup Network disconnected | Alarm Motion Video Loss Disk Full Hard Disk Error To setup the device to send TCP notifications for cameras, right-click on the device in the Navigator and select Configure Device. On the Camera Tab’s Event Section, select the events you would like to receive per camera. On the Alarms Tab, Remote Alert section, the Notify IP Address should be the IP address of where the TruVision Navigator Server service is located (Notification Processor). The Notify Port is defaulted to 5000 and is editable. Ensure this port matches the one listed on the TruVision Navigator Server - Notifications Dialog. Restart the Notification Processor service for TruVision Navigator to process the notifications. | Alarm Motion Video Loss Disk Full Hard Disk Error To setup the device to send TCP notifications for cameras, right-click on the device in the Navigator and select Configure Device. On the Camera Tab’s Event Section, select the events you would like to receive per camera. On the Alarms Tab, Remote Alert section, the Notify IP Address should be the IP address of where the TruVision Navigator Server service is located (Notification Processor). The Notify Port is defaulted to 5000 and is editable. Ensure this port matches the one listed on the TruVision Navigator Server - Notifications Dialog. Restart the Notification Processor service for TruVision Navigator to process the notifications. | Alarm Video Loss Motion Disk Full Disk Failure To setup the device to send TCP notifications for cameras, right-click on the device in the Navigator and select Configure Device. On the Camera Tab’s Event Section, select the events you would like to receive and set the schedules as appropriate. On the Camera Tab’s Rules Section, for each event type, ensure that “notify me” is selected. Repeat for each event type. On the Notifications Tab, the Notify IP Address should be the IP address of where the TruVision Navigator Server service is located (Notification Processor). The Notify Port is defaulted to 5001 and is editable. Ensure this port matches the one listed on the TruVision Navigator Server - Notifications Dialog. To setup the device to send TCP notifications for the device itself (i.e. Disk Full and Disk Failure), right-click on the device in the Navigator and select Configure Device. On the Notification Tab, for each notification type, ensure that “notify me” is selected. Repeat for each notification type and click Save. Ensure the notification port on the device matches that of TruVision Navigator Server as described above. Restart the Notification Processor service for TruVision Navigator to process the notifications. | Alarm Video Loss Motion Disk Full Disk Failure To setup the device to send TCP notifications for cameras, right-click on the device in the Navigator and select Configure Device. On the Camera Tab’s Event Section, select the events you would like to receive and set the schedules as appropriate. On the Camera Tab’s Rules Section, for each event type, ensure that “notify me” is selected. Repeat for each event type. On the Notifications Tab, the Notify IP Address should be the IP address of where the TruVision Navigator Server service is located (Notification Processor). The Notify Port is defaulted to 5001 and is editable. Ensure this port matches the one listed on the TruVision Navigator Server - Notifications Dialog. To setup the device to send TCP notifications for the device itself (i.e. Disk Full and Disk Failure), right-click on the device in the Navigator and select Configure Device. On the Notification Tab, for each notification type, ensure that “notify me” is selected. Repeat for each notification type and click Save. Ensure the notification port on the device matches that of TruVision Navigator Server as described above. Restart the Notification Processor service for TruVision Navigator to process the notifications. Email notification is not supported at the device-level. | Alarm Video Loss Motion Disk Full Disk Failure To setup the device to send TCP notifications for cameras, right-click on the device in the Navigator and select Configure Device. On the Camera Tab’s Event Section, select the events you would like to receive and set the schedules as appropriate. On the Camera Tab’s Rules Section, for each event type, ensure that “notify me” is selected. Repeat for each event type. On the Notifications Tab, the Notify IP Address should be the IP address of where the TruVision Navigator Server service is located (Notification Processor). The Notify Port is defaulted to 5001 and is editable. Ensure this port matches the one listed on the TruVision Navigator Server - Notifications Dialog. To setup the device to send TCP notifications for the device itself (i.e. Disk Full and Disk Failure), right-click on the device in the Navigator and select Configure Device. On the Notification Tab, for each notification type, ensure that “notify me” is selected. Repeat for each notification type and click Save. Ensure the notification port on the device matches that of TruVision Navigator Server as described above. Restart the Notification Processor service for TruVision Navigator to process the notifications. Email notification is not supported at the device-level. | Alarm Video Loss Motion Disk Full Disk Failure To setup the device to send TCP notifications for cameras, right-click on the device in the Navigator and select Configure Device. On the Camera Tab’s Event Section, select the events you would like to receive and set the schedules as appropriate. On the Camera Tab’s Rules Section, for each event type, ensure that “notify me” is selected. Repeat for each event type. On the Notifications Tab, the Notify IP Address should be the IP address of where the TruVision Navigator Server service is located (Notification Processor). The Notify Port is defaulted to 5001 and is editable. Ensure this port matches the one listed on the TruVision Navigator Server - Notifications Dialog. To setup the device to send TCP notifications for the device itself (i.e. Disk Full and Disk Failure), right-click on the device in the Navigator and select Configure Device. On the Notification Tab, for each notification type, ensure that “notify me” is selected. Repeat for each notification type and click Save. Ensure the notification port on the device matches that of TruVision Navigator Server as described above. Restart the Notification Processor service for TruVision Navigator to process the notifications. | Alarm Video Loss Motion Disk Full Disk Failure To setup the device to send TCP notifications for cameras, right-click on the device in the Navigator and select Configure Device. On the Camera Tab’s Event Section, select the events you would like to receive and set the schedules as appropriate. On the Camera Tab’s Rules Section, for each event type, ensure that “notify me” is selected. Repeat for each event type. On the Notifications Tab, the Notify IP Address should be the IP address of where the TruVision Navigator Server service is located (Notification Processor). The Notify Port is defaulted to 5001 and is editable. Ensure this port matches the one listed on the TruVision Navigator Server - Notifications Dialog. To setup the device to send TCP notifications for the device itself (i.e. Disk Full and Disk Failure), right-click on the device in the Navigator and select Configure Device. On the Notification Tab, for each notification type, ensure that “notify me” is selected. Repeat for each notification type and click Save. Ensure the notification port on the device matches that of TruVision Navigator Server as described above. Restart the Notification Processor service for TruVision Navigator to process the notifications. | Alarm Video Loss Motion Disk Full Disk Failure To setup the device to send TCP notifications for cameras, right-click on the device in the Navigator and select Configure Device. On the Camera Tab’s Event Section, select the events you would like to receive and set the schedules as appropriate. On the Camera Tab’s Rules Section, for each event type, ensure that “notify me” is selected. Repeat for each event type. On the Notifications Tab, the Notify IP Address should be the IP address of where the TruVision Navigator Server service is located (Notification Processor). The Notify Port is defaulted to 5001 and is editable. Ensure this port matches the one listed on the TruVision Navigator Server - Notifications Dialog. To setup the device to send TCP notifications for the device itself (i.e. Disk Full and Disk Failure), right-click on the device in the Navigator and select Configure Device. On the Notification Tab, for each notification type, ensure that “notify me” is selected. Repeat for each notification type and click Save. Ensure the notification port on the device matches that of TruVision Navigator Server as described above. Restart the Notification Processor service for TruVision Navigator to process the notifications. | Alarm Video Loss Motion Disk Full Disk Failure To setup the device to send TCP notifications for cameras, right-click on the device in the Navigator and select Configure Device. On the Camera Tab’s Event Section, select the events you would like to receive and set the schedules as appropriate. On the Camera Tab’s Rules Section, for each event type, ensure that “notify me” is selected. Repeat for each event type. On the Notifications Tab, the Notify IP Address should be the IP address of where the TruVision Navigator Server service is located (Notification Processor). The Notify Port is defaulted to 5001 and is editable. Ensure this port matches the one listed on the TruVision Navigator Server - Notifications Dialog. To setup the device to send TCP notifications for the device itself (i.e. Disk Full and Disk Failure), right-click on the device in the Navigator and select Configure Device. On the Notification Tab, for each notification type, ensure that “notify me” is selected. Repeat for each notification type and click Save. Ensure the notification port on the device matches that of TruVision Navigator Server as described above. Restart the Notification Processor service for TruVision Navigator to process the notifications. | Motion Video Loss Video Failure Fan Failed Disk Failed Disk Full Disk Space Low System Voltage Abnormal Temperature Network Disconnected The TVN40 is automatically configured to push its notifications to TruVision Navigator when the device is added in the Navigator. The notifications are pre-configured to be pushed over port 4444, which is not editable. This port is listed as the TCP Listener Port for the TVN40 on the TruVision Navigator Server - Notifications Dialog. | Alarm Video Loss Motion Disk Full Disk Failure To setup the device to send TCP notifications for cameras, right-click on the device in the Navigator and select Configure Device. On the Camera Tab’s Event Section, select the events you would like to receive and set the schedules as appropriate. On the Camera Tab’s Rules Section, for each event type, ensure that “notify me” is selected. Repeat for each event type. On the Notifications Tab, the Notify IP Address should be the IP address of where the TruVision Navigator Server service is located (Notification Processor). The Notify Port is defaulted to 5001 and is editable. Ensure this port matches the one listed on the TruVision Navigator Server - Notifications Dialog. To setup the device to send TCP notifications for the device itself (i.e. Disk Full and Disk Failure), right-click on the device in the Navigator and select Configure Device. On the Notification Tab, for each notification type, ensure that “notify me” is selected. Repeat for each notification type and click Save. Ensure the notification port on the device matches that of TruVision Navigator Server as described above. Restart the Notification Processor service for TruVision Navigator to process the notifications. | Alarm Video Loss Motion Disk Full Disk Failure | Alarm Video Loss Motion Disk Full Disk Failure To setup the device to send TCP notifications for cameras, right-click on the device in the Navigator and select Configure Device. On the Camera Tab’s Event Section, select the events you would like to receive and set the schedules as appropriate. On the Camera Tab’s Rules Section, for each event type, ensure that “notify me” is selected. Repeat for each event type. On the Notifications Tab, the Notify IP Address should be the IP address of where the TruVision Navigator Server service is located (Notification Processor). The Notify Port is defaulted to 5001 and is editable. Ensure this port matches the one listed on the TruVision Navigator Server - Notifications Dialog. To setup the device to send TCP notifications for the device itself (i.e. Disk Full and Disk Failure), right-click on the device in the Navigator and select Configure Device. On the Notification Tab, for each notification type, ensure that “notify me” is selected. Repeat for each notification type and click Save. Ensure the notification port on the device matches that of TruVision Navigator Server as described above. Restart the Notification Processor service for TruVision Navigator to process the notifications. | Alarm Video Loss Motion Disk Full Disk Failure To setup the device to send TCP notifications for cameras, right-click on the device in the Navigator and select Configure Device. On the Camera Tab’s Event Section, select the events you would like to receive and set the schedules as appropriate. On the Camera Tab’s Rules Section, for each event type, ensure that “notify me” is selected. Repeat for each event type. On the Notifications Tab, the Notify IP Address should be the IP address of where the TruVision Navigator Server service is located (Notification Processor). The Notify Port is defaulted to 5001 and is editable. Ensure this port matches the one listed on the TruVision Navigator Server - Notifications Dialog. To setup the device to send TCP notifications for the device itself (i.e. Disk Full and Disk Failure), right-click on the device in the Navigator and select Configure Device. On the Notification Tab, for each notification type, ensure that “notify me” is selected. Repeat for each notification type and click Save. Ensure the notification port on the device matches that of TruVision Navigator Server as described above. Restart the Notification Processor service for TruVision Navigator to process the notifications. | Alarm Video Loss Disk Full Disk Failed Authentication Lock Up Device Powered Up Fan Failed Abnormal Temperature To setup a SymSafe or SymDec16 to send TCP notifications, get the configuration of the device. Under the Network menu, go to Network Notification and make sure each notification on the page is set to TCP. Under Notification Setup, make sure the Alarm Server 1 is set to the IP address of where the TruVision Navigator Server service is located (Notification Processor). Set the Alarm port as the same port (TCP Listener Port) you set on the Notifications Dialog of the TruVision Navigator Server. Click Save for the device configuration changes to be sent to the device. Restart the TruVision Navigator Notification Processor Service via the Services dialog in TruVision Navigator. To setup a SymDec 1 or 4 to send SMTP notifications, get the configuration of the device. Under the Alarm menu, go to Email. Enable each of the notifications using the radio buttons. Set the SMTP Server to the IP address of where the TruVision Navigator Server service is located (Notification Processor). Set the SMTP port as the same port (Email Listener Port) you set on the Notifications Dialog of the TruVision Navigator Server. Click Save for the device configuration changes to be sent to the device. Restart the Notification Processor service for TruVision Navigator to process the notifications. | Alarm Video Loss Disk Full Disk Failed Authentication Lock Up Device Powered Up Fan Failed Abnormal Temperature DVMRe Pro, DVMRe CT or DVMRe CTII - to setup these devices to send TCP notifications, get the configuration of the device. Under the Alarm menu, go to Notification and make sure the notification method on the page is set to TCP. Enable each of the notifications using the radio buttons. Set the Primary host to the IP address of where the TruVision Navigator Server service is located (Notification Processor). Set the port as the same port as you set on Notifications Dialog of the TruVision Navigator Server. Click Save for the device configuration changes to be sent to the device. Restart the TruVision Navigator Notification Processor Service via the Services dialog in TruVision Navigator. DVMRe ezT, StoreSafe, StoreSafe Pro, and StoreSafe Pro II - to setup these devices to send SMTP notifications, get the Configuration of the device. Under the Alarm menu, go to Notification and make sure the notification method on the page is set to Email. Enable each of the notifications using the radio buttons. Set the SMTP Server to the IP address of where the TruVision Navigator Server service is located (Notification Processor). Set the SMTP port as the same port as you set on Notifications Dialog – Email Listener Port of the TruVision Navigator Server. Click Save to push the configuration to the device. Restart the Notification Processor service for TruVision Navigator to process the notifications. No Notifications Available for - DSR, DVSE, DVMRe CS, and DVMRe CD. | No | Alarm Video Loss Motion Disk Full Disk Failure To setup the device to send TCP notifications for cameras, right-click on the device in the Navigator and select Configure Device. On the Camera Tab’s Event Section, select the events you would like to receive and set the schedules as appropriate. On the Camera Tab’s Rules Section, for each event type, ensure that “notify me” is selected. Repeat for each event type. On the Notifications Tab, the Notify IP Address should be the IP address of where the TruVision Navigator Server service is located (Notification Processor). The Notify Port is defaulted to 5001 and is editable. Ensure this port matches the one listed on the TruVision Navigator Server - Notifications Dialog. To setup the device to send TCP notifications for the device itself (i.e. Disk Full and Disk Failure), right-click on the device in the Navigator and select Configure Device. On the Notification Tab, for each notification type, ensure that “notify me” is selected. Repeat for each notification type and click Save. Ensure the notification port on the device matches that of TruVision Navigator Server as described above. Restart the Notification Processor service for TruVision Navigator to process the notifications. | Alarm Video Loss Disk Full Disk Failed Authentication Lock Up Device Powered Up Fan Failed Abnormal Temperature To setup a SymSafe or SymDec16 to send TCP notifications, get the configuration of the device. Under the Network menu, go to Network Notification and make sure each notification on the page is set to TCP. Under Notification Setup, make sure the Alarm Server 1 is set to the IP address of where the TruVision Navigator Server service is located (Notification Processor). Set the Alarm port as the same port (TCP Listener Port) you set on the Notifications Dialog of the TruVision Navigator Server. Click Save for the device configuration changes to be sent to the device. Restart the TruVision Navigator Notification Processor Service via the Services dialog in TruVision Navigator. To setup a SymDec 1 or 4 to send SMTP notifications, get the configuration of the device. Under the Alarm menu, go to Email. Enable each of the notifications using the radio buttons. Set the SMTP Server to the IP address of where the TruVision Navigator Server service is located (Notification Processor). Set the SMTP port as the same port (Email Listener Port) you set on the Notifications Dialog of the TruVision Navigator Server. Click Save for the device configuration changes to be sent to the device. Restart the Notification Processor service for TruVision Navigator to process the notifications. | Alarm Video Loss Disk Full Disk Failed Authentication Lock Up Device Powered Up Fan Failed Abnormal Temperature DVMRe Pro, DVMRe CT or DVMRe CTII - to setup these devices to send TCP notifications, get the configuration of the device. Under the Alarm menu, go to Notification and make sure the notification method on the page is set to TCP. Enable each of the notifications using the radio buttons. Set the Primary host to the IP address of where the TruVision Navigator Server service is located (Notification Processor). Set the port as the same port as you set on Notifications Dialog of the TruVision Navigator Server. Click Save for the device configuration changes to be sent to the device. Restart the TruVision Navigator Notification Processor Service via the Services dialog in TruVision Navigator. DVMRe ezT, StoreSafe, StoreSafe Pro, and StoreSafe Pro II - to setup these devices to send SMTP notifications, get the Configuration of the device. Under the Alarm menu, go to Notification and make sure the notification method on the page is set to Email. Enable each of the notifications using the radio buttons. Set the SMTP Server to the IP address of where the TruVision Navigator Server service is located (Notification Processor). Set the SMTP port as the same port as you set on Notifications Dialog – Email Listener Port of the TruVision Navigator Server. Click Save to push the configuration to the device. Restart the Notification Processor service for TruVision Navigator to process the notifications. No Notifications Available for - DSR, DVSE, DVMRe CS, and DVMRe CD.
Health Diagnostics | IP Address MAC Address Model Name Serial Number Firmware Version Device Date/Time Total Device Health HDD Status HDD Capacity Cameras in Video Loss Cameras in Alarm Current Client Connections Record Status Device Responded Logical Disk Sizes Physical Disk Count Video Format Rec. Capacity Left (TB) | IP Address MAC Address Model Name Serial Number Firmware Version Device Date/Time Total Device Health HDD Status HDD Capacity Cameras in Video Loss Cameras in Alarm Current Client Connections Record Status Device Responded Logical Disk Sizes Physical Disk Count Video Format Rec. Capacity Left (TB) | IP Address MAC Address Model Name Serial Number Firmware Version Device Date/Time Total Device Health HDD Status HDD Capacity Cameras in Video Loss Cameras in Alarm Current Client Connections Record Status Device Responded Logical Disk Sizes Physical Disk Count Rec. Capacity Left (TB) | IP Address MAC Address Model Name Serial Number Firmware Version Device Date/Time Total Device Health HDD Status HDD Capacity Cameras in Video Loss Cameras in Alarm Current Client Connections Record Status Device Responded Logical Disk Sizes Physical Disk Count Rec. Capacity Left (TB) | IP address Subnet mask Gateway MAC Address Model name Serial number Firmware version Date/time Cameras in video loss Current client connections Disk capacity Logical disk count Physical disk count Disk temperature Celsius Disk temperature Fahrenheit Recording status First recorded video Last recorded video Video format | Host Name IP Address MAC Address Model Name Firmware Version Device Time/Date Current Client Connections Record Status First Recorded Video Latest Recorded Video Video Stored (Days) Video Stored (Hours) Physical Disk Model Name Physical Disk Count HDD Status HDD Capacity (Gb) HDD Temperature (C) HDD Temperature (F) Cameras in Alarm Cameras in Video Loss | Host Name IP Address MAC Address Model Name Firmware Version Device Time/Date Current Client Connections Record Status Cameras in Alarm Cameras in Video Loss First Recorded Video Latest Recorded Video Video Stored (Days) Video Stored (Hours) Physical Disk Model Name Physical Disk Count HDD Status HDD Capacity (Gb) HDD Temperature (C) HDD Temperature (F) | IP Address MAC Address Model Name Serial Number Firmware Version Device Date/Time Total Device Health HDD Status HDD Capacity Cameras in Video Loss Cameras in Alarm Current Client Connections Record Status Device Responded Logical Disk Sizes Physical Disk Count Rec. Capacity Left (TB) | IP Address MAC Address Model Name Serial Number Firmware Version Device Date/Time Total Device Health HDD Status HDD Capacity Cameras in Video Loss Cameras in Alarm Current Client Connections Record Status Device Responded Logical Disk Sizes Physical Disk Count Recording Status Video Format Rec. Capacity Left (TB) | IP Address MAC Address Model Name Serial Number Firmware Version Device Date/Time Total Device Health HDD Status HDD Capacity Cameras in Video Loss Cameras in Alarm Current Client Connections Record Status Device Responded Logical Disk Sizes Physical Disk Count Video Format Rec. capacity Left (TB) | IP Address MAC Address Model Name Serial Number Firmware Version Device Date/Time Total Device Health HDD Status HDD Capacity Cameras in Video Loss Cameras in Alarm Current Client Connections Record Status Device Responded Logical Disk Sizes Physical Disk Count Rec. Capacity Left (TB) | IP Address MAC Address Model Name Serial Number Firmware Version Device Date/Time Total Device Health Cameras in Video Loss Cameras in Alarm Current Client Connections HDD Capacity HDD Status Record Status Device Responded Logical Disk Sizes Physical Disk Count Rec. Capacity Left (TB) | IP Address MAC Address Model Name Serial Number Firmware Version Device Date/Time Total Device Health Cameras in Video Loss Cameras in Alarm Current Client Connections HDD Capacity HDD Status Record Status Device Responded Logical Disk Sizes Physical Disk Count Rec. Capacity Left (TB) | IP Address MAC Address Model Name Serial Number Firmware Version Device Date/Time Total Device Health Cameras in Video Loss Cameras in Alarm Current Client Connections HDD Capacity HDD Status Record Status Device Responded Logical Disk Sizes Physical Disk Count Rec. Capacity Left (TB) | Host Name IP Address Subnet Mask Gateway MAC Address NIC Name NIC Type Equipment Name Model Name Serial Number Hardware Revision Firmware Version Build Date Device Date/Time Memory Size Number Of CPUs Number of Power Supplies Diagnostic Date/Time Device Responded Power On Duration Fan Status Device Temperature (C) Device Temperature (F) HDD Status Running Voltages Total Device Health Logical Disk Count Logical Disk Volume Name(s) Logical Disk Device Name(s) Logical Disk Number(s) Logical Disk Serial Number(s) Logical Disk(s) Total Space Logical Disk(s) Free Space Physical Disk Count Physical Disk Size(s) Physical Disk Model Name(s) Physical Disk(s) Partition Count | IP Address MAC Address Model Name Serial Number Firmware Version Device Date/Time Total Device Health Cameras in Video Loss Cameras in Alarm Current Client Connections HDD Capacity HDD Status Record Status Device Responded Logical Disk Sizes Physical Disk Count Rec. Capacity Left (TB) | IP Address Firmware Version Device Date/Time Total Device Health Recording Location Recording Capacity Left(TB) Recording Capacity Protected (TB) Recording Retension Period Device Responded Cameras in Video Loss Disk Capacity Logical Disk Sizes Physical Disk Count Recording Location Model Name | IP Address MAC Address Model Name Serial Number Firmware Version Device Date/Time Total Device Health HDD Status HDD Capacity Cameras in Video Loss Cameras in Alarm Current Client Connections Record Status | IP Address MAC Address Model Name Serial Number Firmware Version Device Date/Time Total Device Health HDD Status HDD Capacity Cameras in Video Loss Cameras in Alarm Current Client Connections Record Status | IP Address MAC Address Model Name Serial Number Firmware Version Device Date/Time Total Device Health Device Temperature (C) Device Temperature (F) HDD Status HDD Temperature (C) HDD Temperature (F) HDD Capacity (Gb) Fan Status Cameras in Video Loss Cameras in Alarm Current Client Connections Record Status First Recorded Video Latest Recorded Video Record Time Left (hours) Video Stored (days) Video Stored (hours) Power on Duration Device Export Time Left | IP Address MAC Address Model Name Serial Number Firmware Version Device Time/Date HDD Capacity (Gb) Cameras in Video Loss Cameras in Alarm Current Client Connections Record Status Record Time Left Video Stored (Hours) Power on Duration Device Export Time Left | IP Address MAC Address Model Name Serial Number Firmware Version Device Date/Time Total Device Health HDD Status HDD Capacity Cameras in Video Loss Cameras in Alarm Current Client Connections Record Status Device Responded Logical Disk Sizes Physical Disk Count Video Format Rec. Capacity Left | IP Address MAC Address Model Name Serial Number Firmware Version Device Date/Time Total Device Health HDD Status HDD Capacity Cameras in Video Loss Cameras in Alarm Current Client Connections Record Status Device Responded Logical Disk Sizes Physical Disk Count Video Format Rec. Capacity Left | IP Address MAC Address Model Name Serial Number Firmware Version Device Date/Time Total Device Health Device Temperature (C) Device Temperature (F) HDD Status HDD Temperature (C) HDD Temperature (F) HDD Capacity (Gb) Fan Status Cameras in Video Loss Cameras in Alarm Current Client Connections Record Status First Recorded Video Latest Recorded Video Record Time Left (hours) Video Stored (days) Video Stored (hours) Power on Duration Device Export Time Left | IP Address MAC Address Model Name Serial Number Firmware Version Device Time/Date HDD Capacity (Gb) Cameras in Video Loss Cameras in Alarm Current Client Connections Record Status Record Time Left Video Stored (Hours) Power on Duration Device Export Time Left
Firmware Upload | No | Yes | Yes | Yes | Yes | Yes To upload firmware to this device via TruVision Navigator, download the firmware file with file extension .tgz. Extract the .tar file to your desktop from the .tgz. Right-click on the device in the Navigator and select Upload Firmware. Browse for the .tar file when prompted. Execute the upload. Remember the Local Scheduling Service needs to be running After TruVision Navigator reports firmware upload success in the Task Panel, the device will require 1-2 minute wait before the user can reconnect to the device. | Yes To upload firmware to this device via TruVision Navigator, download the firmware file with file extension .tgz. Extract the .tar file to your desktop from the .tgz. Right-click on the device in the Navigator and select Upload Firmware. Browse for the .tar file when prompted. Execute the upload. Remember the Local Scheduling Service needs to be running After TruVision Navigator reports firmware upload success in the Task Panel, the device will require 1-2 minute wait before the user can reconnect to the device. | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No (updates must be done on host PC) | Yes | Yes | Yes | No Remote firmware uploads must be done from the device’s web browser and not via TruVision Navigator. This includes all DVMRe models, all StoreSafe models, the DSR, and the DVSE. | Yes | Yes | Yes | No Remote firmware uploads must be done from the device’s web browser and not via TruVision Navigator. This includes all DVMRe Triplex models, all StoreSafe models, the DSR, and the DVSE. The DVMRe-CD and DVMRe-CS must be upgraded at the units.
Bulk Firmware Upload | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | No | Yes | Yes | Yes | No
Device Configuration | No | Yes | Yes | Yes | Yes | Yes Does not currently support remote configuration of resolution for recording. DDNS when enabled usually causes the box to slow down when getting / setting configuration. | Yes Does not currently support remote configuration of resolution for recording. DDNS when enabled usually causes the box to slow down when getting / setting configuration. | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes For certain models - DVMRe CS, DVMRe CD, DVSE, and DSR, configuration must be done via the device’s web browser and not via TruVision Navigator. | Yes | Yes | Yes | Yes For certain models - DVSE and DSR, configuration must be done via the device’s web browser and not via TruVision Navigator. The DVMRe CS and DVMRe CD must be configured from the front panel of the unit.
Bulk Configuration | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes
Remote Reboot | Yes | Yes | Yes | Yes | Yes | Yes Closing video tiles while the device is rebooting will cause TruVision Navigator to freeze and require the user to log back into the application. | Yes Closing video tiles while the device is rebooting will cause TruVision Navigator to freeze and require the user to log back into the application. | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | No | Yes | Yes | Yes | No
IP Camera Support | No (Should be "Yes") | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | See separate camera list file. | See separate camera list file. | See separate camera list file. | See separate camera list file. | See separate camera list file. | See separate camera list file. | See separate camera list file. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Device Log Support | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes |  |  | Yes | Yes | No | No