DIVISION 27 21 29

IFS ETHERNET SURGE PROTECTOR (10/100/1000Mbps)

ESP-300

ENGINEERING SPECIFICATIONS

# PART 1 - GENERAL

1.01 SUMMARY

- IFS Ethernet Surge Protector (10/100/1000Mbps)

1.02 SECTION INCLUDES

- IFS ESP-300 Ethernet Surge Protector (10/100/1000Mbps) – Standalone

1.03 REFERENCES

- Federal Communications Commission (FCC)

- European Union Compliance (CE)

1.04 SYSTEM DESCRIPTION

- Performance Requirements: Provide 2 RJ-45 ports in a compact mini box of Ethernet Surge Protector, which provides two passive 10/100/1000Base-T interfaces for connection of two Ethernet equipments and one ground position for earthed.

- The system shall utilize EIA568, category 5/5e/6, 4-pair cables for 10Base-T, 100Base-TX or 1000Base-T Ethernet connection.

- The ESP-300 Ethernet Surge Protector is quite easy to be installed by simple plug and play. It is used to prevent Ethernet devices damage by lightning strike with surge voltages.

1.05 SUBMITTALS

- Manufacturer’s Installation and Operating Manual: Printed installation and operating information for the Ethernet Surge Protector.

- Warranty: Manufacturer’s Printed Warranty.

1.06 DELIVERY, STORAGE AND HANDLING

- Store in original packaging in a climate controlled environment.

- Storage Temperature not to exceed: -20˚C to +70˚ C

1.07 PROJECT/SITE CONDITIONS

- Temperature Requirements: Product shall operate in an environment with an ambient temperature range of 0 Degree C to +50 Degree C without the assistance of fan-forced cooling.

- Humidity Requirements: Products shall operate in an environment with relative humidity of 5% to 95% (non-condensing).

1.08 WARRANTY

- Standard UTC Fire & Security Inc. Comprehensive Warranty: UTC Fire & Security warrants the product to be free of factory defects under manufacture’s 3 Years Warranty.

# PART 2 - PRODUCTS

2.01 MANUFACTURER

- Acceptable Manufacturer:

- IFS Brand

UTC Fire & Security, Inc.

8985 Town Center Parkway

Bradenton, FL 34202-5129

- Phone 1-855-286-8889

- Email: presales@interlogix.com

- Substitutions: Not Permitted

2.02 MANUFACTURED UNITS

- Model Number Descriptions: Reference Table A: Product Number Descriptions

- Model Compatibility Chart: Reference Table B: Product Compatibility Chart

2.03 GENERAL SPECIFICATIONS

- The Ethernet Surge Protector shall be an IFS ESP-300 module.

- The module features two passive 10/100/1000T electrical ports in a compact mini box of Ethernet Surge Protector.

- The module features one ground position for earthed to avoid the various Ethernet devices including PoE may with surge voltages by lightning strikes and cause damage.

- 20KA Lighting surge protection

- Compact size design

- No external power cable required for installation

- The module shall support total distance up to 100 meters.

2.04 DATA SPECIFICATIONS

- Data Interface: two passive 10/100/100Mbps ports

- Data Rate: 10/100/1000Mbps

- Data Inputs: 2

2.05 STATUS INDICATORS

A. LED Definition:

NA

2.06 CONNECTORS

- Protected Port: RJ-45

- Un-protected Port : RJ-45

2.07 ELECTRICAL SPECIFICATIONS

- Power Requirement

NA

2.08 MECHANICAL SPECIFICATIONS

- Surface Mount Dimensions (WxDxH): 2.55” x 1.65” x 0.78” (65 x 42 x 20mm)

- Finish: Module shall be constructed of a metal enclosure.

- Weight < 0.17lbs / 80g

2.9 ENVIRONMENTAL SPECIFICATIONS

- MTBF: >50,000 Hours

- Operating Temp: 0˚ C to +50˚ C

- Storage Temp: -20˚ C to +70˚ C

- Relative Humidity: 5% to 95% (non-condensing).

2.10 REGULATORY AGENCIES/APPROVALS AND LISTINGS

- Federal Communications Commission (FCC) Part 15, Class A

- European Union Compliance (CE) with following standard:

- EN 55022:2006, Class A

- EN61000-3-2:2006

- EN61000-3-3+A2:2005

- EN 55024+A2:2003

2.11 ACCESSORIES

- Quick Installation Guide x1

- Ground Cable x1

- Paster x1

PART 3 - EXECUTION

3.01 PREPARATION

- Standalone Module (Surface Mount)

- Shall be mounted on a properly prepared surface adequate for the size and weight of module. The placement of the unit shall allow provision for cable installation and maintenance as indicated on the approved detail drawings and in compliance with the installation manual.

3.02 INSTALLATION

- General: Locate Ethernet Surge Protector module as indicated on the approved detail drawings and install module in compliance with the IFS User’s manual.

- Connect Ethernet Surge Protector to the Ethernet Equipment including PoE.

Step 1:  In the right side, please use ground cable from package to connect the screw and ground.

Step 2:   Please connect first Ethernet device to the RJ-45 port that near the screw through the UTP cable.

Step 3:   Please connect second Ethernet device to another RJ-45 port from other side of Ethernet Surge Protector.

3.03 TESTING

- Testing the two passive 10/100/1000T Gigabit Ethernet Copper Link.

- Verify that the data leads and UTP ports are properly connected.

- Successful link connection should be confirmed at this point by connect with two Ethernet equipments.

3.04 CLEANING

- Follow all instructions for proper use of solvents and adhesives used for termination and splicing.

- At completion of the installation, dispose of all UTP cable scraps properly.

# MANUFACTURED UNITS REFERENCE TABLES

Table A: Product Number Descriptions

| IFS PART NO. | DESCRIPTION | MAX. DISTANCE* |
| --- | --- | --- |
| ESP-300 | Ethernet Surge Protector (10/100/1000Mbps) | 100M at each side |

Table B: Product Compatibility Chart

| IFS Ethernet Surge Protector | COMPATIBLE Ethernet Equipment |
| --- | --- |
| ESP-300 | IEEE 802.3 / 802.3u / 802.3ab Gigabit Ethernet standard for 10/100/1000T protocol |

## END OF SECTION