DIVISION 27 21 29

IFS MC251-4P/1CXT– 4-PORT FAST ETHERNET/POE-AF TO 1-PORT COAX/UTP INDUSTRIAL MEDIA CONVERTER

ENGINEERING SPECIFICATIONS

# PART 1 - GENERAL

1.01 SUMMARY

- 4-Port Fast Ethernet /POE-AF to 1-Port Coax/UTP Industrial Media Converter

  - SECTION INCLUDES

- A. IFS MC251-4P/1CXT 4-Port Fast Ethernet /POE-AF to 1-Port Coax/UTP Industrial Media Converter – Standalone

1.03 REFERENCES

- Federal Communications Commission (FCC)

- European Union Compliance (CE)

1.04 SYSTEM DESCRIPTION

- Performance Requirements: Provides 1 VDSL2 combo port (BNC / RJ-11 connectors) and 4 10/100Base-TX copper port with IEEE 802.3af Power over Ethernet Injector.

- The system shall utilize 50 ohm, RG6, RG58A/U, RG58C/U, RG58/U or equivalent coaxial cable for VDSL2 BNC port.

- The system shall utilize EIA568, category 5/5e, 4-pair cables for 10Base-T or 100Base-TX to transfer Ethernet data and 48V DC power simultaneously.

1.05 SUBMITTALS

- Manufacturer’s Installation and Operating Manual: Printed installation and operating information for the PoE Injector.

- Warranty: Manufacturer’s Printed Warranty.

1.06 DELIVERY, STORAGE AND HANDLING

- Store in original packaging in a climate controlled environment.

- Storage Temperature not to exceed: -40˚ C to +85˚ C

1.07 PROJECT/SITE CONDITIONS

- Temperature Requirements: Product shall operate in an environment with an ambient temperature range of -40˚C to +75˚C without the assistance of fan-forced cooling.

- Humidity Requirements: Products shall operate in an environment with relative humidity of 5% to 90% (non-condensing).

1.08 WARRANTY

- UTCFS Return and Warranty Policy: UTCFS warrants the product to be free of factory defects for period of 3 years.

# PART 2 - PRODUCTS

2.01 MANUFACTURER

- Acceptable Manufacturer:

- IFS Brand
UTC Fire & Security, Inc.
8985 Town Center Parkway
Bradenton, FL 34202-5129

- Phone 1-855-286-8889

- Email: 	presales@interlogix.com

- Substitutions: Not Permitted

2.02 MANUFACTURED UNITS

- Model Number Descriptions: Reference Table A: Product Number Descriptions

- Model Compatibility Chart: Reference Table B: Product Compatibility Chart

2.03 GENERAL SPECIFICATIONS

- The Industrial Ethernet Extender shall be an IFS MC251-4P/1CXT module.

- Ethernet Port:

- The module features four fixed 10/100TX electrical ports in a compact mini box.

- The module shall support the Ethernet data IEEE 802.3/802.3u 10/100Base-TX protocol using Auto-negotiating and Auto-MDI MDI-X features.

- The module shall comply with IEEE 802.3af Power over Ethernet PSE (Power Source Equipment).

- The module shall support UTP distance up to 100 meters (328 ft.).

- VDSL2 Port:

- The module shall comply with ITU-T G.993.1, G.993.2 VDSL/VDSL2 and SG15Q4 DMT.

- The module shall utilize coaxial cable or RJ-11 telephone wire for the digital subscriber line.

- The module shall be equipped with a 4-Position DIP-Switch for settings of Master/ Slave, Fast/Inter leave mode, Asymm / Symm and SNR.

2.04 DATA SPECIFICATIONS

- Data Interface: Ethernet IEEE 802.3u

- Data Rate: 10/100 Mbps

- Data Inputs: 4

- Operation Mode: Simplex or Duplex

2.05 VDSL2 SPECIFICATIONS

- IFS MC251-4P/1CXT.

- Encoding: VDSL-DMT

- Number of VDSL2 port: 1 VDSL2 combo port (BNC / RJ-11 connector)

- Maximum Distance: 0.86 miles (1.4km)- Twisted-pair telephone wires (AWG24 or better)

- Maximum Distance: 1.49 miles (2.4km)- 50 ohm, RG58A/U, RG58C/U, RG58/U or 75 ohm, RG6 BNC cable

2.06 STATUS INDICATORS

A. System

| LED | Color | Function |
| --- | --- | --- |
| P1 | Green | Lit: indicates that the power 1 has power. |
| P2 | Green | Lit: indicates that the power 2 has power. |
| FAULT | Green | Lit: indicates that either power 1 or power 2 has no power. |

- VDSL

| LED | Color | Function |  |
| --- | --- | --- | --- |
| ACT | Green | Lit | Indicates that the VDSL link is established. |
|  |  | Fast Blink | Indicates that the VDSL port of Industrial Ethernet Extender is actively sending or receiving data. |
| Sync | Green | Lit | Indicates that the VDSL link is established. |
|  |  | Fast Blink | Indicates that the VDSL link is at training status. (About 10 seconds) |
|  |  | Slow Blink | Indicates that the VDSL link is at idle status. |
| Master | Green | Lit | Indicates that the Industrial Ethernet Extender is running at Master mode. |
| Slave | Green | Lit | Indicates that the Industrial Ethernet Extender is running at Slave mode. |

- 10/100Base-TX Port with PoE

| LED | Color | Function |  |
| --- | --- | --- | --- |
| LNK/ACT | Green | Lit | Indicates that the port is link up. |
|  |  | Blink | Indicates that the Industrial Ethernet Extender is actively sending or receiving data over that port. |
|  |  | Off | Indicates that the port is link down. |
| Power In-Use | Orange | Lit | Indicates the port is providing 48V DC in-line power. (1-4 ports). |

2.07 CONNECTORS

- Power: Terminal Block with Screw Clamps

- Contact Closure:  Terminal Block with Screw Clamps

- VDSL2 Port: 1 VDSL2 combo port (BNC / RJ-11 connector)

- Ethernet Port: RJ-45

2.08 ELECTRICAL SPECIFICATIONS

- Power: 24 or 48VDC @ 3.5A

- Current Protection: Automatic re-settable solid-state current limiters

- Voltage Regulation: Solid-state, Independent on each board

2.09 MECHANICAL SPECIFICATIONS

- Surface Mount Dimensions: 5.3” x 3.4” x 1.96” (135mm x 87mm x 50mm)

- Finish: Module shall be constructed of a metal enclosure with a powder coat.

- Weight < 1.39lbs / 631g

2.10 ENVIRONMENTAL SPECIFICATIONS

- MTBF: >100,000 Hours

- Operating Temp: –40˚ C to +75˚ C

- Storage Temp: –40˚ C to +85˚ C

- Relative Humidity: 5% to 90% (non-condensing).

2.11 REGULATORY AGENCIES/APPROVALS AND LISTINGS

- Federal Communications Commission (FCC) Part 15, Class A

- European Union Compliance (CE) with following standard:

- EN 55022:2006, Class A

- EN61000-3-2:2006

- EN61000-3-3+A2:2005

- EN 55024+A2:2003

2.12 ACCESSORIES

- DIN Rail kit

- Wall mount kit

- RJ-11 Telephone line

PART 3 - EXECUTION

3.01 PREPARATION

- Standalone Module (Surface Mount)

- Shall be mounted on a properly prepared surface adequate for the size and weight of module. The placement of the unit shall allow provision for cable installation and maintenance as indicated on the approved detail drawings and in compliance with the installation manual.

3.02 INSTALLATION

- General: Locate Industrial Ethernet Extender module as indicated on the approved detail drawings and install module in compliance with the IFS User’s manual.

- The device is used for Point-to-Point connection only (Master device to Slave device).

- The BNC connector supports 50 or 75 ohm cable. Depending on the quality of coaxial cable, the maximum distance of one VDSL segment is 2.4km with coaxial cable.

- The RJ-11 connector support twisted-pair telephone (AWG24 or better), the maximum distance of one VDSL segment is 1.4km with RJ-11 telephone wire.

- The distance will change by the quality of coaxial or RJ-11 cables.

- Set the MC251-4P/1CXT to be Master mode or Slave mode from the DIP switch at the front panel.

3.03 TESTING

- Testing the 10/100TX Fast Ethernet Copper Link.

- Verify that the data leads and UTP ports are properly connected.

- Successful data link operation should be confirmed at this point by communicating with other equipment.

- Testing the 10/100TX PoE Copper output capability.

- Make sure that power is applied to the PoE switch.

- Testing the VDSL2 coaxial cable / RJ-11 telephone wire link.

- Set the one MC251-4P/1CXT to be Master mode and the other MC251-4P/1CXT to be Slave mode.

- Power on the MC251-4P/1CXT by connecting its DC power source.

- Connect coaxial cable between the VDSL BNC ports of the two MC251-4P/1CXT devices.

- VDSL Sync LED will from blinking to illuminate.

- Connect RJ-11 telephone wire between the VDSL RJ-11 ports of the two MC251-4P/1CXT devices.

- VDSL Sync LED will from blinking to illuminate.

3.04 CLEANING

- Follow all instructions for proper use of solvents and adhesives used for termination and splicing.

- At completion of the installation, dispose of the fiber scrap properly.

# MANUFACTURED UNITS REFERENCE TABLES

Table A: Product Number Descriptions

| IFS MODEL | DESCRIPTION | MAX. DISTANCE* |
| --- | --- | --- |
| MC251-4P/1CXT | 4-Port Fast Ethernet /POE-AF to 1-Port Coax/UTP Industrial Media Converter (-40~75 Degree C) | 328 feet (100M) electrical 1.49 Miles (2.4KM) coaxial cable / 0.86 Miles (1.4KM)RJ-11 telephone wire |

Table B: Product Compatibility Chart

| IFS Model Name | DESCRIPTION | MAX. DISTANCE* |
| --- | --- | --- |
| MC251-4P/1CXT | 4-Port Fast Ethernet /POE-AF to 1-Port Coax/UTP Industrial Media Converter (-40~75 Degree C) | 328 feet (100M) electrical 1.49 Miles (2.4KM) coaxial cable / 0.86 Miles (1.4KM)RJ-11 telephone wire |
| MC250-4T/1CXT | 4-Port Fast Ethernet to 1-Port Coax/UTP Industrial Media Converter (-40~75 Degree C) | 328 feet (100M) electrical 1.49 Miles (2.4KM) coaxial cable / 0.86 Miles (1.4KM)RJ-11 telephone wire |
| MCR200-1T/1CX | Fast Ethernet to Coax Media Converter – 3km | 328 feet (100M) electrical 1.49 Miles (2.4KM) coaxial cable / 0.86 Miles (1.4KM)RJ-11 telephone wire |

## END OF SECTION