DIVISION 27 21 29

IFS ETHERNET OVER VDSL2 COAX CONVERTER

MCR200-1T/1CX

ENGINEERING SPECIFICATIONS

# PART 1 - GENERAL

1.01 SUMMARY

- Ethernet overt VDSL2 Converter - Coaxial

1.02 SECTION INCLUDES

- IFS MCR200-1T/1CX Ethernet overt VDSL2 Coaxial  Converter – Standalone

1.03 REFERENCES

- Federal Communications Commission (FCC)

- European Union Compliance (CE)

1.04 SYSTEM DESCRIPTION

- Performance Requirements: Provides 1 VDSL2 port with BNC connector and 1 10/100Base-TX copper port.

- The system shall utilize 50 ohm, RG6, RG58A/U, RG58C/U, RG58/U or equivalent coaxial cable for VDSL2 BNC port.

- The system shall utilize EIA568, category 5/5e, 4-pair cables for 10Base-T or 100Base-TX.

1.05 SUBMITTALS

- Manufacturer’s Installation and Operating Manual: Printed installation and operating information for the PoE Injector.

- Warranty: Manufacturer’s Printed Warranty.

1.06 DELIVERY, STORAGE AND HANDLING

- Store in original packaging in a climate controlled environment.

- Storage Temperature not to exceed: -10˚ C to +70˚ C

1.07 PROJECT/SITE CONDITIONS

- Temperature Requirements: Product shall operate in an environment with an ambient temperature range of 0˚ C to +50˚ C without the assistance of fan-forced cooling.

- Humidity Requirements: Products shall operate in an environment with relative humidity of 10% to 90% (non-condensing).

1.08 WARRANTY

- UTCFS Return and Warranty Policy: UTCFS warrants the product to be free of factory defects for period of 3 years.

# PART 2 - PRODUCTS

2.01 MANUFACTURER

- Acceptable Manufacturer:

- IFS Brand
UTC Fire & Security, Inc.
8985 Town Center Parkway
Bradenton, FL 34202-5129

- Phone 1-855-286-8889

- Email: presales@interlogix.com

- Substitutions: Not Permitted

2.02 MANUFACTURED UNITS

- Model Number Descriptions: Reference Table A: Product Number Descriptions

- Model Compatibility Chart: Reference Table B: Product Compatibility Chart

2.03 GENERAL SPECIFICATIONS

- The Ethernet over VDSL2 Converter shall be an IFS MCR200-1T/1CX module.

- Ethernet Port:

- The module shall support the Ethernet data IEEE 802.3/802.3u 10/100Base-TX protocol using Auto-negotiating and Auto-MDI/MDI-X features.

- The module features one fixed 10/100TX electrical ports in a compact mini box.

- The module shall support UTP distance up to 100 meters.

- VDSL2 Port:

- The module shall comply with ITU-T G.993.1, G.993.2 VDSL/VDSL2 and SG15Q4 DMT.

- The module shall utilize coaxial cable for the digital subscriber line.

- The module shall be equipped with a 4-Position DIP-Switch for selectable CO/CPE, Fast/Inter leave mode, Data Rate and SNR.

- The module shall provide below LED indicators for proper monitoring of operations:

- Power

- CO/CPE mode

- VDSL2 link status

- Ethernet port link status

- Ethernet port speed

- The module shall be used with the AC-DC adapter with DC 5V input. (Not included)

2.04 DATA SPECIFICATIONS

- Data Interface: Ethernet IEEE802.u

- Data Rate: 10/100 Mbps

- Data Inputs: 2

2.05 VDSL2 SPECIFICATIONS

- Encoding: VDSL-DMT

- Number of VDSL2 port: 1

- Maximum Distance: 1.86 miles (3km)

2.06 STATUS INDICATORS

- System

| LED | Color | Function |  |
| --- | --- | --- | --- |
| PWR | Green | On: | Power ON. |
|  |  | Off: | Power OFF. |

- VDSL

| LED | Color | Function |  |
| --- | --- | --- | --- |
| LNK/ ACT | Green | Lit: | Indicates that the VDSL link is established. |
|  |  | Fast Blink: | Indicates that the VDSL link is at training status (about 10 seconds). |
|  |  | Slow Blink: | Indicates that the VDSL link is at idle status. |
|  |  | Off: | Indicates that the port link is inactive. |
| CO | Green | Lit: | Indicates that the VDSL Bridge is running at CO mode. |
| CPE | Green | Lit: | Indicates that the VDSL Bridge is running at CPE mode. |

- 10/100Base-TX Port

| LED | Color | Function |  |
| --- | --- | --- | --- |
| LNK/ ACT | Green | Lit: | Indicates that the port link is active. |
|  |  | Blink: | Indicates that the Converter is actively sending or receiving data over that port. |
|  |  | Off: | Indicates that the port link is inactive. |
| 100 | Green | Lit: | Indicates that the port is operating at 100Mbps. |
|  |  | Off: | Indicates that the port link is inactive, or, 10Mbps. |

2.07 CONNECTORS

- Power: DC plug female

- VDSL2 Port: BNC

- Ethernet Port: RJ-45

2.08 ELECTRICAL SPECIFICATIONS

- Power Adapter: (Not included)

- Input Voltage Range: 100~240VAC

- Output Voltage: 5VDC, 2.5A max.

2.09 MECHANICAL SPECIFICATIONS

- Surface Mount Dimensions (WxDxH): 3.82” x 2.76” x 1.02” (97x 70 x 26mm)

- Finish: Module shall be constructed of a metal enclosure.

- Weight < 0.46lbs / 210g

2.10 ENVIRONMENTAL SPECIFICATIONS

- MTBF: >50,000 Hours

- Operating Temp: 0˚ C to +50˚ C

- Storage Temp: -10˚ C to +70˚ C

- Relative Humidity: 10% to 90% (non-condensing).

2.11 REGULATORY AGENCIES/APPROVALS AND LISTINGS

- Federal Communications Commission (FCC) Part 15, Class A

- European Union Compliance (CE) with following standard:

- EN 55022:2006, Class A

- EN61000-3-2:2006

- EN61000-3-3+A2:2005

- EN 55024+A2:2003

PART 3 - EXECUTION

3.01 PREPARATION

- Standalone Module (Surface Mount)

- Shall be mounted on a properly prepared surface adequate for the size and weight of module. The placement of the unit shall allow provision for cable installation and maintenance as indicated on the approved detail drawings and in compliance with the installation manual.

3.02 INSTALLATION

- General: Locate VDSL2 over Ethernet Converter module as indicated on the approved detail drawings and install module in compliance with the IFS User’s manual.

- The device is used for Point-to-Point connection only (Master device to Slave device).

- The BNC connector supports 50 ohm cable. Depending on the quality of coaxial cable, the maximum distance of one VDSL segment is 1.6km with coaxial cable.

- The distance will be affected by the quality of coaxial cables.

- Set the MCR200-1T/1CX to be CO mode or CPE mode from the DIP switch at the rear panel.

3.03 TESTING

- Testing the 10/100TX Fast Ethernet Copper Link.

- Verify that the data leads and UTP ports are properly connected.

- Successful data link operation should be confirmed at this point by communicating with other equipment.

- Testing the VDSL2 coaxial cable link.

- Set the one MCR200-1T/1CX to be CO mode and the other MCR200-1T/1CX to be CPE mode.

- Power on the MCR200-1T/1CX by connecting its power source.

- Connect coaxial cable between the VDSL BNC ports of the two MCR200-1T/1CX.

- VDSL LNK LED will from blinking to illuminate.

3.05 CLEANING

- Follow all instructions for proper use of solvents and adhesives used for termination and splicing.

# MANUFACTURED UNITS REFERENCE TABLES

Table A: Product Number Descriptions

| IFS PART NO. | DESCRIPTION | MAX. DISTANCE* |
| --- | --- | --- |
| MCR200-1T/1CX | Ethernet overt VDSL2 Converter – Coaxial | 300 feet (100M) electrical 1.86 Miles (3KM) coaxial |

* Maximum distance is limited to optical loss of the fiber and any additional loss by connectors, splices and patch panels.

Table B: Product Compatibility Chart

| IFS PART NO. | COMPATIBLE ETHERNET EQUIPMENT |
| --- | --- |
| MCR200-1T/1CX | IEEE 802.3u Fast Ethernet standard for 10/100TX protocol ITU-T G.993.1, G.993.2 VDSL/VDSL2 and SG15Q4 DMT |

## END OF SECTION