DIVISION 27 21 29

IFS 1-PORT 10/100/1000BASE-T – 2-PORT GIGABIT SFP MEDIA CONVERTER (W/O AC)

MCR300-1T-2S

ENGINEERING SPECIFICATIONS

# PART 1 - GENERAL

1.01 SUMMARY

- IFS One 10/100/1000Mbps TP Port to two mini-GBIC slots Gigabit Media Converter

1.02 SECTION INCLUDES

- IFS MCR300-1T-2S one 10/100/1000Mbps TP to  two 1000-X Gigabit SFP Media Converter – Standalone

1.03 REFERENCES

- Federal Communications Commission (FCC)

- European Union Compliance (CE)

1.04 SYSTEM DESCRIPTION

- Performance Requirements: Provide 1 10/100/1000Base-T copper port and 2 1000Base-SX/LX SFP optical multimode or single mode slot.

- The system shall utilize EIA568, category 5/5e/6, 4-pair cables for 10Base-T or 100Base-TX and 1000Base-T to transfer Ethernet data.

- The system shall utilize 850nm to 1550nm optics capable of data transmission of 1000Mbps on multimode / single mode optical fibers.

1.05 SUBMITTALS

- Manufacturer’s Installation and Operating Manual: Printed installation and operating information for each type of Transmitter/Receiver specified.

- Warranty: Manufacturer’s Printed Warranty.

1.06 DELIVERY, STORAGE AND HANDLING

- Store in original packaging in a climate controlled environment.

- Storage Temperature not to exceed: -20˚ C to +70˚ C

1.07 PROJECT/SITE CONDITIONS

- Temperature Requirements: Product shall operate in an environment with an ambient temperature range of 0˚C to +50˚C without the assistance of fan-forced cooling.

- Humidity Requirements: Products shall operate in an environment with relative humidity of 5% to 95% (non-condensing).

1.08 WARRANTY

- UTCFS Return and Warranty Policy: UTCFS warrants the product to be free of factory defects for period of 3 years.

# PART 2 - PRODUCTS

2.01 MANUFACTURER

- Acceptable Manufacturer:

- IFS Brand

UTC Fire & Security, Inc.

8985 Town Center Parkway

Bradenton, FL 34202-5129

- Phone 1-855-286-8889

- Email: presales@interlogix.com

- Substitutions: Not Permitted

- All fiber optic modules shall be supplied from a single manufacturer.

2.02 MANUFACTURED UNITS

- Model Number Descriptions: Reference Table A: Product Number Descriptions

- Model Compatibility Chart: Reference Table B: Product Compatibility Chart

2.03 GENERAL SPECIFICATIONS

- The Gigabit Media Converter with one 10/100/1000Base-T copper port and two 1000Base-SX/LX mini-GBIC slot system.

- The two 1000Base-SX/LX mini-GBIC slot support 1000Mbps single mode / multimode fiber

- The 10/100/1000Base-T port shall support the Ethernet data IEEE 802.3 protocol using Auto-negotiating and Auto-MDI/MDI-X features.

- The Gigabit Media Converter shall provide one power, fiber Link / Act, TP port speed and TP port Link / Act indicating LED’s for monitoring proper system operation.

- The Gigabit mini-GBIC module shall require no in-field electrical or optical adjustments or in-line attenuators to ease installation.

- The Gigabit Media Converter shall equip with one adjustable DIP switch for Fiber Redundant function setting.

- The module shall support UTP distance up to 100 meters.

2.04 DATA SPECIFICATIONS

- Data Interface: Ethernet IEEE802.3

- Data Rate: 10/100/1000 Mbps

- Data Input: 1

- Operation Mode: Simplex or Duplex

2.05 OPTICAL SPECIFICATIONS

- IFS Model Number MCR300-1T-2S

- Optical Fiber:

- 9/125 micron single mode

- 62.5/125 micron multimode

- Number of Optical ports: 2

- Number of Fibers Required: 1 or 2, depend on various SFP module

- Optical Wavelength: depend on various SFP module

- Optical Power Budget: depend on various SFP module

- Maximum Distance: depend on various SFP module

2.06 STATUS INDICATORS

A. System

| LED | Color | Function |
| --- | --- | --- |
| PWR | Green | Lit: Power on. |

B. 1000Base-SX/LX SFP Slots

| LED | Color | Function |  |
| --- | --- | --- | --- |
| 1 | Green | Lit | Indicate that the fiber optical port is link up. |
|  |  | Blink | Indicate that the converter is actively sending or receiving data over that port. |
|  |  | Off | Indicate that the fiber optical port is link down. |
| 2 | Green | Lit | Indicate that the fiber optical port is link up. |
|  |  | Blink | Indicate that the converter is actively sending or receiving data over that port. |
|  |  | Off | Indicate that the fiber optical port is link down. |

C. 10/100/1000Base-T Port

| LED | Color | Function |  |
| --- | --- | --- | --- |
| LNK/ACT | Orange | Lit | Indicate that the copper port is link up. |
|  |  | Blink | Indicate that the converter is actively sending or receiving data over that port. |
|  |  | Off | Indicate that the copper port is link down. |
| 1000 | Green | Lit | Indicate that the copper port is operating at 1000Mbps. |
|  |  | Off | Indicate that the copper port is link down or 10/100Mbps. |

2.07 CONNECTORS

- Power: DC plug female

- Optical: SFP Slot / LC interfaces

- Data: RJ-45

2.08 ELECTRICAL SPECIFICATIONS

- Power Adapter:

- Input Voltage Range: 100~240VAC

- Output Voltage: 5V DC @ 1A

- The Gigabit Media Converter:

- Input Voltage: 5V DC @ 1A

2.09 MECHANICAL SPECIFICATIONS

- Surface Mount Dimensions (WxDxH): 3.70” x 2.76” x 1.02” (94 x 70 x 26mm)

- Finish: Module shall be constructed of a metal enclosure.

- Weight < 0.42lbs / 191g

2.10 ENVIRONMENTAL SPECIFICATIONS

- MTBF: >50,000 Hours

- Operating Temp: 0˚ C to +50˚ C

- Storage Temp: -20˚ C to +70˚ C

- Relative Humidity: 5% to 95% (non-condensing).

2.11 REGULATORY AGENCIES/APPROVALS AND LISTINGS

- Federal Communications Commission (FCC) Part 15, Class A

- European Union Compliance (CE) with following standard:

- EN 55022:2006, Class A

- EN61000-3-2:2006

- EN61000-3-3+A2:2005

- EN 55024+A2:2003

2.12 ACCESSORIES

- User’s Manual x1

PART 3 - EXECUTION

3.01 PREPARATION

- Standalone Module (Surface Mount)

- Shall be mounted on a properly prepared surface adequate for the size and weight of module. The placement of the unit shall allow provision for cable installation and maintenance as indicated on the approved detail drawings and in compliance with the installation manual.

- Optical Fibers

- Caution: NEVER look into the end of an active optical fiber when using laser light output. Eye damage can occur. Wear eye protection when cleaving, terminating, and splicing fiber.

- The number and type – multimode / single mode of optical fiber shall meet the requirement of the IFS model number.

- All optical fiber cables shall be properly installed and terminated with the mating optical connectors.

- The optical connector on cable shall be cleaned in compliance to optical connector manufactures specifications and covered with dust caps until connection to the fiber optic module.

3.03 INSTALLATION

- General: Locate Gigabit Media Converter module as indicated on the approved detail drawings and install module in compliance with the IFS User’s manual.

3.04 TESTING

- Testing the 10/100/1000T Gigabit Ethernet Copper Link.

- Verify that the data leads and UTP ports are properly connected.

- Make sure that power is applied to the Gigabit Media Converter or other equipment used in the system.

- Successful data link operation should be confirmed at this point by communicating with other equipment.

- Testing the 10/100.1000T Copper port capability.

- Testing the Fiber Optic Ethernet Link.

- Verify that the data leads and optical fibers are properly connected.

- Make sure that power is applied to all fiber optic modules, controllers, and receiver drivers or other equipment used in the system.

- Successful data link operation should be confirmed at this point by communicating with other equipment.

3.05 CLEANING

- Follow all instructions for proper use of solvents and adhesives used for termination and splicing.

- At completion of the installation, dispose of all fiber scraps properly.

# MANUFACTURED UNITS REFERENCE TABLES

Table A: Product Number Descriptions

| IFS PART NO. | DESCRIPTION | MAX. DISTANCE* |
| --- | --- | --- |
| MCR300-1T-2S | 1-Port 10/100/1000Base-T - 2-Port Gigabit SFP Switch Media Converter (W/O AC) | Depend on various SFP module |

Table B: Product Compatibility Chart

| SFP Transceiver | DESCRIPTION | MAX. DISTANCE* |
| --- | --- | --- |
| S30-2MLC | SFP-Port 1000Base-SX mini-GBIC module - 220m | 0.14 or 0.34 Miles (220m or 550m) |
| S30-2SLC-10 | SFP-Port 1000Base-LX mini-GBIC module – 10Km | 6.21 Miles (10KM) |
| S30-2SLC-30 | SFP-Port 1000Base-LX mini-GBIC module – 30Km | 18.64 Miles (30KM) |
| S30-2SLC-70 | SFP-Port 1000Base-LX mini-GBIC module – 70Km | 43.49 Miles (70KM) |

* Maximum distance is limited to optical loss of the fiber and any additional loss by connectors, splices and patch panels.

## END OF SECTION